## PNI-AF Sites Data
AF Site # | AF Site Name/Sample ID | Longitude | Latitude | Altitude | Island | Data collectors | Category | Managed By | Water Storage Type | No. Of Water Storages | Structure Material | Roofing Material | Water Source | Accessibility | Water Storage Measurements | Capacity | Structure Condition | Damage Description, if Damaged | Comments & Recommendations (Structure) | Date of Assessment | Time of Assessment | *TC | *E-Coli | CRR | pH | *Temp | *NTU | Analyst | Comments & Recommendations (Water Quality)
1 | Dispensary/Municipal_Tank | 154.9705 | 3.8359 | 13.6041 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Government | Water Tank | 2 tanks | Plastic | Plastic | Rainwater catchment | Yes | 6ft x 6ft | 1500 gal. | Good | Rusted cutters with uneven base | Need to change the cutters and fix the base | 2020-04-28 | 10:25 | Present | Absent | - | - | - | 0.28 | QL
2 | Protestant Church_Tank | 154.9713 | 3.8359 | 15.0038 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Church | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 4ft | 250 gal. | Damaged | Cracked tank walls | Insert cutters and fix the cracks | 2020-04-28 | 10:50 | Present | Present | - | - | - | 4.11 | QL
3 | Adalaide Henry Lhdagi_Well | 154.9704 | 3.8344 | 11.1968 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Concrete | Tin | Ground water | Yes | 4ft-diameter/6ft-depth/4ft-water level |  | Good |  | Need to extend above ground, with concrete base, and new roofing | 2020-04-28 | 11:10 | Present | Present | - | 7.19 | - | 3.75 | QL
4 | Elementary School_Tank | 154.9741 | 3.8377 | 13.6415 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | School | Water Tank | 2 tanks | Concrete | Concrete | Rainwater catchment | Yes | 6ft x 5ft | 10000 gal. | Good |  | Only small portion of the roofing has cutter - add more cutters | 2020-04-28 | 11:49 | Present | Present | - | - | - | 0.27 | QL
5 | Senard Leopold_Well | 154.9717 | 3.845 | 17.719 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Coral | Tin | Ground water | Yes | 5ft-3inch-diameter |  | Good |  | Improve the well by using concrete structure, extend above ground, with concrete base and new roofing | 2020-04-28 | 12:23 | Present | Present | - | 7.7 | - | 1.22 | QL
6 | Richard Fred_Well | 154.9724 | 3.8413 | 19.5945 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Coral | Tin | Ground water | Yes | 4ft-5inch/6ft-9inch-depth |  | Good |  | Improve the well by using concrete structure, extend above ground, with concrete base and new roofing | 2020-04-28 | 1:13 | Present | Present | - | 7.8 | - | 0.24 | QL
7 | Jano Rudolph De Bido_Well | 154.972 | 3.8375 | 20.3596 | Nukuoro | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Coral | Open | Ground water | Yes | 4ft square/6ft-depth |  | Damaged | Plants and grass growing from the well wall | Improve the well by using concrete structure, extend above ground, with concrete base and new roofing | 2020-04-28 | 1:35 | Present | Present | - | 8.13 | - | 5.16 | QL
8 | Protestant Church_Well | 154.8076 | 1.0781 | 5.6917 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Church | Water Well | 1 well | Concrete | Open | Rainwater catchment | Yes | 5ft square/ 9ft-depth |  | Good |  | Need to extend above ground with concrete base and new roofing | 2020-04-29 | 11:22 | Present | Absent | - | 7.48 | - | 0.51 | QL
9 | Municipal Office_Tank | 154.808 | 1.0782 | 12.3912 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Government | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 6ft | 1500 gal. | Good |  | Install new tank with new cutters | 2020-04-29 | 11:30 | Present | Absent | - | - | - | 1.52 | QL
10 | Tudua Ngake_Well | 154.8069 | 1.0805 | 14.2853 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Concrete | Open | Ground water | Yes | 5ft square/ 9ft-depth |  | Good |  | Install concrete base and new roofing | 2020-04-29 | 12:15 | Present | Present | - | 7.34 | - | 0.84 | QL
11 | Werua Community_Well | 154.8064 | 1.0819 | 14.024 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Concrete | Open | Ground water | Yes | 5ft square/ 9ft-depth |  | Good |  | Install concrete base and new roofing | 2020-04-29 | 12:56 | Present | Present | - | 7.13 | - | 1.18 | QL
12 | Community_Tank | 154.8063 | 1.0823 | 11.8033 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Tank | 1 tank | Concrete | Concrete | Rainwater catchment | Yes | 6ft x 5ft | 1000 gal. | Good |  | Need water catchment to fill in the tank - stand alone roofing for water catchment | 2020-04-29 | Not Tested
13 | Catholic Church_Tank | 154.8064 | 1.0823 | 12.2792 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Church | Water Tank | 1 tank | Concrete | Open | Rainwater catchment | Yes | 8ft x 5ft | 5000 gal. | Damaged | Cracked tank walls | Fix the cracks, install stand alone roofing for water catchment for the tank | 2020-04-29 | Not Tested
14 | Elementary School_Tank | 154.8075 | 1.0834 | 15.5076 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | School | Water Tank | 2 tanks | Plastic | Plastic | Rainwater catchment | Yes | 6ft x 6ft | 1500 gal. | Good |  | SPC-FSM RENI Project Water Tanks | 2020-04-29 | 1:30 | Present | Present | - | - | - | 0.21 | QL
15 | Talai_Well | 154.8082 | 1.0812 | 18.4934 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Concrete | Open | Ground water | Yes | 5ft square/ 9ft-depth/3ft-water level |  | Good |  | Install concrete base and new roofing | 2020-04-29 | 2:00 | Present | Present | - | 7.69 | - | 1.47 | QL
16 | Section #3_Well | 154.8074 | 1.079 | 13.7348 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Well | 1 well | Concrete | Open | Ground water | Yes | 5ft square/13ft-depth/4ft-water level |  | Good |  | Install concrete base and new roofing | 2020-04-29 | 2.:17 | Present | Present | - | 7.55 | - | 1.09 | QL
17 | AF repaired tank 1 | 154.8076 | 1.0782 | 7.4646 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 6ft | 5000 gal. | Good |  |  | 2020-04-29
18 | AF repaired tank 2 | 154.8079 | 1.0782 | 8.0244 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 6ft | 5000 gal. | Good |  |  | 2020-04-29
19 | AF repaired tank 3 | 154.808 | 1.0782 | 12.6244 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 6ft | 5000 gal. | Cracked outside | Cracked tank walls |  | 2020-04-29
20 | AF repaired tank 4 | 154.808 | 1.0782 | 12.9603 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 6ft | 5000 gal. | Good |  |  | 2020-04-29
21 | AF repaired tank 5 | 154.808 | 1.0781 | 12.7737 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Public | Water Tank | 1 tank | Concrete | Tin | Rainwater catchment | Yes | 6ft x 6ft | 10000 gal. | Good |  |  | 2020-04-29
22 | Municipal Office_New Tank | 154.8078 | 1.0779 | 12.3912 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | Government | Water Tank | 1 tank | Plastic | Plastic | Rainwater catchment | Yes | 6ft x 6ft | 1500 gal. |  |  | AF Project will provide and install | 2020-04-29 | Not Tested
23 | Elementary School_New Tank | 154.8076 | 1.0835 | 15.5076 | Kapingamarangi | Elson, Quintin, Strick, Gordon, Snyther, Richard, Morthy | Water storage | School | Water Tank | 1 tank | Plastic | Plastic | Rainwater catchment | Yes | 6ft x 6ft | 1500 gal. |  |  | AF Project will provide and install | 2020-04-29 | Not Tested