## Source
Selected tables extracted from the Pacific Power Utilities benchmarking report. 2012 Fiscal year
report was published in June 2015
REPORT WAS PREPARED BY THE PACIFIC POWER ASSOCIATION (PPA) WITH TECHNICAL SUPPORT OF THE PACIFIC INFRASTRUCTURE ADVISORY CENTRE (PIAC)
Copy of the report an be accessed from the following PRDR link:
http://prdrse4all.spc.int/system/files/ppa-power-benchmarking-final-report_2015_2012.pdf
report was sourced from the PPA website
http://www.ppa.org.fj/publication-report/

## Content
Contents
Table A | Summary of Indicator Trends 2012
Table 1.1 | Utility Participation in Benchmarking 2001,2010-2012 Data Periods
Table 1.2 | Economies and Populations of Independent Pacific Island Countries
Table 1.3 | Economies and Populations of Pacific Island Territories or Dependencies
Table 4.1 | Key Data Component Reliability Assessment Questions
Table 4.2 | Grading Schema
Table 4.3 | Aggregate Data Reliability Grade 2012 (2011)
Table 5.1: | Utility Key Characteristics
Table 5.2: | Transmissions Indicators 2012 (2011)
Table 5.3 | Utility Demand Side Management Efforts in 2011 and 2012
Table 6.1 | Summary of Indicator Trends 2012
Table 6.2 | Comparison of 2012 Results with 2001, 2010 and 2011
Table 6.3 | Comparison of Key Indicators for Pacific and other Small Utilities
Table 8.1 | Benchmarking Schedule 2014-2017
Table B1 | Governance Responses
Table B2 | Governance Responses Cont'd
Table C.1 | Employee Gender Composition
Table F.1 | KPIs 2012 (Generation)
Table F.2 | KPIs 2012 (Generation, Distribution)
Table F.3 | KPIs 2012 (Generation, Distribution, SAIDI & SAIFI)
Table F.4 | KPIs 2012 (DSM,HR and Safety, Customer)
Table F.5 | KPIs 2012 (Transmission)
Table F.6 | KPIs 2012 (Financial and Utility Cost Breakdown)
Table H.1 | Electricity Tariff Table (Local Currency)
Table H.2 | Electricity Tariff Table (USD currency)

## Table A
content page
Table A: Summary of Indicator Trends 2012 |  | note: this is the same table captured as table 6.2: Comparison of 2012 Results with 2001, 2010 and 2011
Key Indicators (of 2002 report, with additional indicators in 2010 and 2011 shown |  | 2000 Results |  | Goals (2002) | International Best Practice (2002 report) | 2010 Results |  | 2011 Results |  | 2012 Results |  | Trend
|  | Average | Median |  |  | Average | Median | Average | Median | Average | Median
Generation
Load factor (%) | ↑ better | 67 | 66 | 50-80 | 50-80 | 64 | 65 | 67 | 68 | 67 | 65 | stable
Capacity factor (%) | ↑ better | 34 | 33 | > 40 | 35-65 | 32 | 31 | 36 | 37 | 36 | 35 | stable
Availability factor (%) | ↑ better | 93 | 97 | 80-90 | 10-65 | 98 | 100 | 82 | 80 | 92 | 99.6 | improved*
Generation labour productivity (GWh/FTE employee) | ↑ better |  |  |  |  | 2.7 | 1.2 | 2.5 | 1.2 | 2.2 | 1.3 | declined
Specific fuel oil consumption (kWh/ litre) | ↑ better | 3.8 | 3.7 | 4 | Over 4 | 3.8 | 3.8 | 3.8 | 3.8 | 3.9 | 3.8 | stable
Specific fuel oil consumption (kWh/ kg) | ↑ better | [8 empty] | 4.5 | 4.5
Lube oil consumption (kWh/litre) | ↑ better | N/A | N/A | N/A | No standard | 1302 | 971 | 1084 | 936 | 1096 | 984 | improved
Forced outage factor (%) | ↓ better | 7.9 | 3.2 | 5-14 | 0 | 1 | 0.2 | 8.3 | 6.3 | 5.4 | 0.4 | improved*
Planned outage factor (%) | ↓ better | 4.3 | 3.9 | 3 | 3 | 1 | 0.1* | 3.9 | 1.8 | 2.64 | 0.04 | improved
O&M (US$ per MWh) | varies | 58 | 14 | 18 |  | 148* | 71* | 214* | 132* | 47 | 40 | decreased
Power Station Usage (%) | ↓ better |  |  |  | 3-5 | 4.7 | 4.8 | 3.9 | 3.6 | 3.5 | 2.7 | improved
Renewable energy to grid (%) | varies | N/A | N/A | N/A | No standard | 22% main grid* |  | 26% of all grids*
Transmission
Transmission losses (%) | ↓ better | 8 | N/A | 5 | 5 |  |  | 5* | 5* | 0.9* | 0.9*
Transmission reliability ( outages/100km) | ↓ better | [6 empty] | 41.8 | 18.2 | 11.5* | 15.9* | improved*
Transmission SAIDI (min/cust) unplanned | ↓ better | [8 empty] | 52.7 | 60.9
Planned | [9 empty] | 0 | 0
Transmission SAIFI (events/cust) unplanned | [9 empty] | 5.3 | 6.3
Planned | [9 empty] | 0 | 0
Distribution
Network delivery losses (%) | ↓ better |  |  |  |  | 12.8 | 11.7 | 11.8 | 9.2 | 14 | 12.2 | *
Distribution losses (%) | ↓ better | 12* | N/A | 5 | 5 | 12 | 10.4 | 14.2 | 10.7 | 14.1 | 12.2 | stable
Transformer utilisation (%) | ↑ better | 18 | 18 | 30 | 50 | 19 | 21 | 18 | 19 | 16 | 16 | declined
Distribution reliability (events per 100km) | ↓ better |  |  |  |  | 51 | 26 | 135 | 19 | 64 | 23 | *
Customers/employee | ↑ better | 242 | 224 | 240 | 350 | 334 | 297 | 259 | 249 | 246 | 253 | declined
Distribution O&M (USD/km) | ↑ better | [6 empty] | 5846 | 4648 | 8662 | 5574 | improved
SAID and SAIFI
SAIDI (mins/customer) | ↓ better | 592 | 33 | 200 | 47 | 530* | 139 | 794* | 583* | 5664 | 475 | increased
SAIFI (interruptions/cust.) | ↓ better | 19 | 8 | 10 | 0.9 | 8* | 4* | 10* | 6* | 9 | 4 | stable
Financial
Ave.supply cost (USD/kWh) | [9 empty] | 0.45 | 0.44
Debt to equity ratio (%) | ↓ better | 26 | N/A | <50 | <50 | 10 | 18 | 47 | 24 | 38 | 13 | *
Rate of return on assets (%) | ↑ better | -16.8 | - | > 0 | > 10 | -4 | 1 | 3 | 0 | -12 | 2 | *
Return on equity (%) | ↑ better |  |  |  |  | 5.7 | 5.7 | 8.1 | 5.7 | 2 | 0 | declined
Current ratio (%) | ↑ better |  |  | >100 |  |  |  | 168 | 109 | 204 | 102 | *
Operating ratio (%) | ↓ better |  |  | <100 |  |  |  | 100 | 99 | 98 | 99 | stable
Debtor days (days) | ↓ better | 79 | 51 | < 50 | 30 | 115 | 56 | 62 | 51 | 57 | 50 | improved
Human Resources and Safety
Lost Time Injury Duration Rate (days/FTE employee) | ↓ better | [6 empty] | 0.09* | 0.04* | 0.1 | 0.03
Lost Time Injury Freq Rate (incidents per million hrs) (number of incidents per million hours | ↓ better | [6 empty] | 10 | 6.3 | 6 | 2.3 | improved
Labour productivity (Customers per employee) | ↑ better |  |  |  |  | 85 | 74 | 71 | 59 | 81 | 55 | *
TECHNICAL COMPOSITE
Composite Indicator | ↑ better | N/A | N/A | N/A | Not defined | 2.8 | 2.8 | 2.7 | 2.7 | 2.5 | 2.4 | declined
Notes: 1. (*) = questionable result

## Table 1.1
content page
Table 1.1: Utility Participation in Benchmarking 2001,2010-2012 Data Periods
Utility |  |  | Data Period
|  |  | 2001 | 2010 | 2011 | 2012
Year Data Collated
|  |  | 2002 | 2011 | 2012/13 | 2013/14
Acronym | Name | Country/Territory
ASPA | American Samoa Power Aunthority | American Samoa | √ | √ | √ | √
CPUC | Chuuk Public Utility Corporation | Fed States of Micronesia (FSM) | √ | √ | √ | √
CUC | Commonwealth Utilities Corporation | Commonwealth of N Marianas | x | √ | √ | √
EDT | Electricite de Tahiti | French Polynesia | √ | √ | √ | √
EEC | Electricite et Eau de Caledonie | New Caledonia | √ | x | x | √
EEWF | Electricite et Eau de Wallis et Futuna | Wallis & Futuna | √ | x | x | x
ENERCAL | Societe Neo-Caledonenne D'Energie | New Caledonia | √ | x | x | x
EPC | Electric Power Corporation | Samoa | √ | √ | √ | √
FEA | Fiji Electricity Authority | Fiji | √ | √ | √ | √
GPA | Guam Power Authority | Guam | √ | √ | √ | √
KAJUR | Kwajalein Atoll Joint Utility Resources | Marshall Islands (RMI) | √ | √ | √ | √
KUA | Kosrae Utilities Authority | Fed States of Micronesia (FSM) | √ | √ | √ | √
MEC | Marshall Energy Company | Marshall Islands (RMI) | x | √ | √ | √
NPC | Niue Power Corporation | Niue | √ | √ | x | x
NUC | Nauru Utilities Corporation | Nauru | x | √ | √ | √
PNGP | PNG Power Ltd | Papua New Guinea | √ | √ | √ | x
PPUC | Palau Public Utilities Corporation | Palau | √ | √ | √ | √
PUB | Public Utilities Board | Kiribati | √ | √ | √ | √
PUC | Pohnpei Utilities Corporation | Fed States of Micronesia (FSM) | √ | x | √ | √
SIEA | Solomon Islands Electricity Authority | Solomon Islands | √ | √ | √ | √
TAU | Te Aponga Uira O Tumu-Te-Varovaro | Cook Islands | √ | √ | √ | √
TEC | Tuvalu Electricity Corporation | Tuvalu | x | √ | √ | √
TPL | Tonga Power Limited | Tonga | √ | √ | √ | √
UNELCO | UNELCO Vanuatu Limited | Vanuatu | √ | √ | √ | √
YSPSC | YAP State Public Service Corporation | Fed States of Micronesia (FSM) | x | √ | √ | √
| Total |  | 20 | 19 | 21 | 21

## Table 1.2
content page
Table 1.2: Economies and Populations of Independent Pacific Island Countries
Country |  | Land area km2 | GNP per capita (US$ (2009) | GDP per capita |  | GDP growth rate per capita |  | Current account balance % GDP (2012) | High exposure to fuel price rises
|  |  |  | US$ | Year | % 2011 | % 2012
| (Mid 2012) | 2011
Cook Island | 15087 | 237 | n.a. | 11917 | 2010 | -0.8 | 3.4 | -2.2e | √
Fiji | 855545 | 18273 | 3840 | 3472 | 2010 | 0 | 1.3 | -1.6p | √
Kiribati | 106886 | 811 | 1830 | 1664 | 2011 | 0.1 | 3.5 | -10p | √
RMI | 53679 | 181 | 3060 | 3130 | 2008 | 0 | 5.4 | 1.4e | √
FSM | 102948 | 701 | 2500 | 2889 | 2010 | n.a. | 1 | 0.4e | √
Nauru | 10292 | 21 | n.a. | 7121 | 2009 | 1.9 | 4.8 | 0.6e | √
Palau | 17445 | 444 | 6220 | 10692 | 2011 | n.a. | 4 | -2.3e | √
PNG | 7229077 | 462840 | 1180 | 2700 | 2012 | 6.2 | 7.5 | -1.2p | √
Samoa | 187610 | 2785 | 2840 | 3706 | 2011 | 2.7 | 1.0e | -7.3e | √
Solomon Islands | 587068 | 30407 | n.a. | 1181 | 2009 | 5.2 | 6 | 6.0e | √
Tonga | 103276 | 650 | 3260 | 4394 | 2011 | 0.2 | 1.3e | 3.0e | √
Tuvalu | 10732 | 26 | n.a. | 4002 | 2011 | -0.5 | 1.2 | 10.0e | √
Vanuatu | 257031 | 12281 | 2620 | 3022 | 2008 | 1.2 | 3 | 0.0e | √
PIC average |  |  |  | 4607 |  | 1.5 | 3.7
CARICOM average |  |  |  | 11632 | various
Notes: 1. e = estimated. 2. n.a. = not available. 3. p = projection. 4. Utilities from all above PICs above participated in 2011 benchmarking. Sources: 1. Asian Development Bank (ADB), Asian Development Outlook (2011). 2. ADB, Pacific Economic Monitor (2012). 3. GNPs from ADB; GDPs from Secretariat of the Pacific Community (SPC), (2012). 4. SPC, Populations from Pacific Island Populations: Estimates and Projections (2011). 5. CARICOM GDPs sourced from CIA, The World Factbook (2011), https://www.cia.gov/library/publications/the-world-factbook/geos/xx.html.

## Table 1.3
content page
Table 1.3: Economies and Populations of Pacific Island Territories or Dependencies
Dependency or Territory |  | Land area km2 | GDP per capita
| Mid-2012 |  | US$ | Year
American Samoa | 56173 | 199 | 7874 | 2007
Guam | 169719 | 541 | 23134 | 2007
Niue | 1556 | 259 | 11985 | 2009
Northern Mariana Islands | 55094 | 457 | 16494 | 2007
New Caledonia | 255645 | 18576 | 37993 | 2008
French Polynesia | 268270 | 3521 | 21071 | 2006
Wallis & Futuna | 12449 | 142 | 12640 | 2005
Average |  |  | 18741
Sources: 1. Asian Development Bank (ADB), Asian Development Outlook (2011). 2. ADB, Pacific Economic Monitor (2012). 3. GNPs from ADB; GDPs from Secretariat of the Pacific Community (SPC), (2012). 4. SPC, Populations from Pacific Island Populations: Estimates and Projections (2011). 5. CARICOM GDPs sourced from CIA, The World Factbook, (2011), https://www.cia.gov/library/publications/the-world-factbook/geos/xx.html.

## Table 4.1
content page
Table 4.1: Key Data Component Reliability Assessment Questions
Question | Description
(i) | How is fuel consumption calculated or derived?
(ii) | How are generation quantities calculated or derived?
(iii) | How are customer outage impacts calculated or derived?
(iv) | How are network demands and capacity utilisation calculated or derived?
(v) | How is the number of connections or customers calculated?
(vi) | Where is financial information sourced from?

## Table 4.2
content page
Table 4.2: Grading Schema
Question | Description
A | Highly Reliable | Data is based on sound records, procedures, investigations or analyses that are properly documented and recognised as the best available assessment methods. Effective metering or measurement systems exist.
B | Reliable | Generally as in Category A, but with minor shortcomings, e.g. some of the documentation is missing, the assessment is old or some reliance on unconfirmed reports; or there is some extrapolation made (e.g. extrapolations from records that cover more than 50 per cent of the utility system).
C | Unreliable | Generally as in categories A or B, but data is based on extrapolations from records that cover more than 30 per cent (but less than 50 per cent) of the utility system.
D | Highly Unreliable | Data is based on unconfirmed verbal reports and/or cursory inspections or analysis, including extrapolations from such reports/inspections/analysis. There are no reliable metering or measurement systems.

## Table 4.3
content page
Table 4.3: Aggregate Data Reliability Grade 2012 (2011)
Aggregate Grade | 2011 data | 2012 data
A | ASPA, CUC,EDT,FEA,GPA,KUA,PPUC,PPL,TPL, UNELCO | ASPA, EEC, FEA, GPA,TAU,TEC,TPL, UNELCO
B | CPUC, EPC, KAJUR,MEC,PUB,PUC, SIEA,TEC,YSPSC | CPUC, CUC, EDT, EPC, KAJUR,KUA,MEC, PPUC,PUB,SIEA, YSPSC
C | NUC | NUC,PUC
D | (None in category) | (None in category)

## Table 5.1
content page
Table 5.1: Utility Key Characteristics
Utility and Colour code | Peak Demand (MW) | Size Category (S/M/L) | IPP (%) | Households with connections (%) | Outer Islands Serviced (Y/N) | RE (%) | Public or Private Ownership | Data Reliability (Hi/Med/Low
ASPA | 22.6 | Medium | 0 | 97 | Yes | 0.7 | Public | High
CPUC | 2.5 | Small | 0 | 80 | Yes | 0 | Public | Med
CUC | 41.5 | Large | 17.9 | 99 | Yes | 0 | Public | Med
EDT | 118.7 | Large | 1.4 | 98 | Yes | 25.9 | Private | Med
EEC | 100.2 | Large | 95.2 | 63 | Yes | 4.8 | Private | High
EPC | 20.3 | Medium | 0 | 97 | Yes | 41.3 | Public | Medium
FEA | 150.8 | Large | 1.9 | 82 | Yes | 63.5 | Public | High
GPA | 258 | Large | 37.5 | 99 | No | 0 | Public | High
KAJUR | 2 | Small | 0 |  | No | 0 | Public | Med
KUA | 1.1 | Small | 0 | 77 | No | 0 | Public | Med
MEC | 8.8 | Medium | 0 | 42 | Yes | 0.3 | Public | Med
NPC | 0.6 | Small |  |  | No | 0 | Public | -
NUA | 3.5 | Small | 0 | 100 | No | 0.2 | Public | Low
PPL | 196 | Large |  |  | Yes | 58 | Public | -
PPUC | 12 | Medium | 0 | 95 | Yes | 6.1 | Public | Med
PUB | 4.9 | Small | 0 | 41 | No | 0 | Public | Med
PUC | 6.6 | Medium | 0 | 96 | No | 0 | Public | Low
SIEA | 14.2 | Medium | 0 | 12* | Yes | 0 | Public | Med
TAU | 4.5 | Small | 0 | 100 | No | 1.1 | Public | High
TEC | 1 | Small | 0 |  | Yes | 1.3 | Public | High
TPL | 9.2 | Medium | 0 |  | Yes | 0 | Public | High
UNELCO | 11.4 | Medium | 0 | 21 | Yes | 13.8 | Private | High
YSPSC | 2.3 | Small | 0 | 57 | Yes | 0.2 | Public | Med
Notes: | * Value approximated by utility

## Table 5.2
content page
Table 5.2: Transmissions Indicators 2012 (2011)
Utility | Transmission Losses (%) |  | Transmission Reliability (outages/100km) |  | Transmission SAIDI (min/cust) |  | Transmission SAIFI (events/cust)
[5 empty] | Unplanned | Planned | Unplanned | Planned
| 2011 | 2012 | 2011 | 2012 | 2012 | 2012 | 2012 | 2012
EDT |  | 1.6 | 13 | 2.3 | 97.1 | 0 | 1.6 | 0
FEA |  | ? | 4.3 | 15.9 | 0 | 0 | 6.3 | 0
PPL |  |  | 23.3
GPA | 5 | 0.2 | 126.6 | 16.3 | 60.9 | 0 | 8 | 0
Average | 5 | 0.9 | 41.8 | 11.5 | 52.7 | 0 | 5.3 | 0
Median | 5 | 0.9 | 18.2 | 15.9 | 60.9 | 0 | 6.3 | 0
Good Responses | 1 | 2 | 4 | 3 | 3 | 3 | 3 | 3

## Table 5.3
content page
Table 5.3: Utility Demand Side Management Efforts in 2011 and 2012
Responses from Utilities | 2011 | 2012 | Comments 2012
Number of responses | 13 | 21 | All participating utilities responded
DSM activities reported | 8 | 13
Staff assigned to DSM | 2 | 0 | FTE
Budget for DSM | 3 | 4
DSM MWh saving | 2 | 2 | Only one quantified saving TAU: 577MWh

## Table 6.1
content page
Table 6.1: Summary of Indicator Trends 2012
Improved | Stable | Declined
Lube oil consumption (kWh/litre) | Load factor (%) | Generation labour productivity (GWh/FTE employee
Power Station Usage (%) | Capacity factor (%) | Customers per dist. Employee
Distribution O & M | Specific fuel oil consumption (kWh/litre) | Transformer utilisation (%)
Debtor days (days) | Distribution losses (%) | Return on equity
Lost Time Injury Freq. Rate | SAIFI ( interruptions/cust.) | Composite Indicator
Operating ratio (%)

## Table 6.3
content page
Table 6.3: Comparison of Key Indicators for Pacific and other Small Utilities
Indicator | Pacific |  | CARILEC | NESIS
Data for operational year | 2012 |  | 2012 | 2006
No. of participating utilities | 21 |  | 17 | 17 groups,73 islands
Utility characteristics | Most small, remote & oil dependent; most 100% Govt-owned. Range of 900-150,000+ customers, with median of 8,300 |  | Most small, remote & oil dependent; higher GDP/capita than PICs, Govt, private and mixed ownership | EU-linked; higher GDP/capita than PIC; Govt, private and mixed ownership Islands are listed in 3 categories below (14 of 21 PICTs<100 GWh)
Generation | Average | Median | Median | > 1000GWh | <1000GWh | <100GWh
Load factor (%) | 67 | 65 | 69
Capacity (Utilisation) factor (%) | 36 | 35 | 42
Availability factor (%) | 92 | 99.6 | 80
O & M (USD per MWh) | 47 | 40 | 278
Power Station Usage (%) | 3.5 | 2.7 | 3.1
Distribution
Network delivery (sys energy) losses (%) | 17.3 | 11.5 | 10.7 | 9.7 | 6.9 | 9
Distribution (energy grid) losses (%) | 14.1 | 12.2 | 8.5
SAIDI and SAIFI
SAIDI (hours/customer) | 94 | 8 | 158 | 3 | 1.3 | 5.2
SAIFI (interruptions/customer) | 9 | 4 | 4.3
Financial
Average supply cost (USD/kWh) | 0.45 | 0.44 | 0.33
Rate of return on assets (%) | -12 | 2 | 5.2
Notes: 1. * From KEMA supply side loss reports 2. PICT data are comparable to the region's total system losses and presumable wrongly reported. 3. SAIFI &SAIDI: Data insufficent for benchmarking & some are inconsistent for CARILEC (and probably PICTs)
4. *** Generation costs for NESIS & APPA include purchased electriciy; NESIS costs based on EUR 1.0 =USD 1.25 in 2006
5. +PICTs based on 200kWh per m for households, 500kWh per m commercial; CARILEC 100 & 2000 respectively
6. (?) indicates data may not be sufficiently reliable for meanigful comparisons.

## Table 8.1
content page
Table 8.1: Benchmarking Schedule 2014-2017
| Start of Benchmarking Period | End of Bencmarking Period | Timing of Benchmarking Exercise | Data Collection Completed By:
Current Benchmarking Round | July 2011 | Dec 2012 | Nov 2013 to Aug 2014 | May 2014
Next Benchmarking Round (2014) | July 2012 | Dec 2013 | Sept 2014 to Mar 2015 | Nov 2014
2015 Benchmarking | July 2013 | Dec 2014 | Apr 2015 to Sept 2015 | May 2015
2016 Benchmarking | July 2014 | Dec 2015 | Apr 2016 to Sept 2016 | May 2016
2017 Benchmarking | July 2015 | Dec 2016 | Apr 2017 to Sept 2017 | May 2017

## Tab B1
content page
Table B.1: Governance Responses
|  | Board Composition |  |  |  | Conflict of Interest |  | Commercial Mandate
|  | How are Directors appointed | Are Ministers or public servants appointed to the Board? | If so, is the Minister and/or public servant representing the line/sector ministry? | Is the CEO of the utility or other senior management on the Board? | Conflict of interest policy and a code of conduct? | Is it fully implemented? | Clearly defined commercial mandate? | Is it fully implemented?
| ASPA | 5 Directors, appointed by Governor, confirmed by Legislature | No | No | No | Yes | Yes | No, it is a nonprofit and revenue goes back to the service | NA
| CPUC | Recommendations put forward by state Governor to be approved by state legislature | May be appointed but at present are not | No | CEO ex-officio member | Yes | Yes | Yes | Yes
| EDT | Members of the Board nominated by the shareholders of the utility company which is a private company affiliated to GDF-SUEZ group | Yes | Yes, but no voting rights | Yes, CEO and senior managers | Yes | Yes | Current concession agreement does not have commercial KPIs | NA
| EEC | Board is composed of shareholder or person representing shareholder, senior management and CEO | NO | NA | CEO is President of the Board | Yes | Yes |  | NA
| EPC | 7 Board members selected by independent committee appointed by Cabinet - Positions advertised, shortlist best candidates and make recommendation to Cabinet | Yes | Yes | GM, MoF representative and Board Secretary are ex-officio members | Yes | Yes | Yes
| FEA | Ministry of Public enterprises makes appointments upon recommendations from the line Ministry | NO | Permanent Secretary of the Ministry of Finance is ex-offico member | CEO is ex-officio member | Yes | Yes | Yes | Yes
| GPA | 5 Commissioners elected by voters of Guam in a General Election | NO | na | No | Yes | Yes | NO | NA
| KUA | 5 members; 4 represent different municipalities of Kosrae - State Governor appoints, and confirmed by state legislature | No, Director of DCTI was ex-offico appointment but ammended | No | CEO not a member but attends Board meetings | Yes | Yes | Commercial practices within KUA policies - law states not a profit-making operation - current rates do not cover investments or improvements | NA
| KAJUR | Nominated by Cabinet and appointed by the President | Minister of Public works chairs the Board | Yes | Yes, but no voting rights | No | No | No | NA
| MEC | Cabinet appoint Board of Directors | Yes | Yes | NO | Board Governance Manual developed | Not yet effectively implemented | Utility operates as an essential service provided by the Government | NA
| PUB | List of appointees reviewed by SOEMAU - Criteria were approved last year - Appointed by Ministers of MoF and MPWU with guidance from SOEMAU governed by SOE Act recently enacted May 2013 | No | NA | CEO is Secretary of the Board - no other senior management on Board | Yes | Yes | Yes | No
| PUC | Governor appoints with advice and consent of state legislature | 4 public sector, 3 private | Unspecified | No | Yes | Yes | Yes | Yes
| TAU | Directors are appointed via Cook Islands Investment Corporation (CIIC) and Government | Yes, ex-officio. Currently Minister of Energy. | Yes | CEO ex-officio member | Yes | Yes | Yes | Yes
| TEC | Positions advertised, Cabinet make appointment of Directors - appointed for 2 years | No public servants | N/A | CEO is secretary of the Board | Yes | No, yet to be implemented | Yes | NO
| TPL | Positions are advertised, and recruited - Ministry also has a list of potential candidates - Minister selects candidate, 3 year term - recommendations are approved by the Cabinet | Not more than 1 public servant, no Ministers | Unspecified | Unspecified | Yes | Yes | Yes | Yes
| UNELCO | Directors appointed by shareholders | Yes | Yes, but no voting rights | Yes, CEO and senior managers | Yes | Yes | Yes | Yes
| YSPSC | Governor appoints with advice and consent of state legislature | None currently on Board but can be appointed by the Governor with the consent of the legislature | Yes | No | Yes | Yes | NO | N/A

## Tab B2
content page | content page
Table B.1: Governance Responses Continued
|  | CEO Performance |  | Planning |  | Audit |  | Annual Reports
|  | Is the CEO on a performance -based contract? | How often is it reviewed? | Does the Board develop a forward looking plan, with financial operational and capital expenditure project? | What period does it cover? | Does the company have an Internal Auditor? | Does Internal Auditor report directly to the Board or through CEO? | Is an audited Annual Report published? | Is it produced within three months after end of financial year? | Does it report on progress against the targets in the Business Plan? | Is the Annual Report publically available?
| ASPA | Yes, 2 year contract | Annually | Yes, bi-annually | 2 years | No, external auditor | NA | Yes | No, 6 months | NA | Yes
| CPUC | No | Annually | Yes, annually | 5 years | No, CFO fulfils this role | Reports through CEO but can be approached by Board | Yes | No, 9 months | Yes | Yes
| EDT (Tahiti) | Yes | Bi-annually | Yes, bi-annually | 5 years | Yes | To administration and financial department, VP and also to the CEO depending on subject | Yes | Yes | Yes | Yes
| EEC | Yes | Annually | Yes | 4 years updated yearly | Yes | Through CEO | Yes | No, 6 months | Unspecified | Yes
| EPC | Yes, 3 year contract | Annually | Yes, annually | 3 years | Yes | Direct to Audit Committee | Yes | Yes | Yes | Yes
| FEA | Yes | Annually | Yes, annually | 3 years | Yes | Administratively reports to CEO, but functionally to the Board | Yes | Yes for draft. Final within 5 months | Yes | Yes
| GPA | Not contractual | Annually | Yes, annually | 5 years | Yes | To Board | Yes No, 6-8 months | No, but included in quarterly reports | Yes
| KUA | Yes Annually | Yes, annually | 5 years | N, internal financial controller, and external auditor | NA Yes | Yes | Yes | Yes
| KAJUR | No | NA, 3 year contract | No | Yes | To CEO | Yes | No | No | Yes
| MEC | Yes, 5 year contract | Annually | Yes | 5 years | Yes | To Board of Directors | Yes | Yes | Yes | Yes
| PUB | Yes but could be more strict | Annually | Yes | 3 years | No | NA | Yes | Yes | No | Yes
| PUC | Yes | Annually | Yes, but not upto-date | No | NA | Yes | From 6 to 9 months | na | Yes
| SIEA | Yes | 3 Years | Yes, annually | 3-5 years | Yes | Through CEO, or direct if required | Yes | Yes | Yes | Yes
| TAU | Yes | Annually | Yes | 5 years | Yes | Through CEO | Yes | Yes | Yes | Yes
| TEC | Yes, but needs strengthening | Annually | Yes | 3 years | No | NA | yes | 4 months | Reports only on progress | Yes
| TPL | Yes | Annually | Yes | 7 years- 10 year forecast | Internal compliance dept | Through CEO | Yes | Yes | For shareholder, a 6 monthly performance report. For the regulator, an Annual Report, not published. | Yes
| UNELCO | Yes | Annually | Yes, annually | 5 years | Yes | To Board of Directors | Yes | Yes | Yes | Yes, upon request
| YSPSC | No | NA | Yes | Fiscal year planning | Yes | Through CEO | Yes | Yes | Yes | Yes

## Table C.1
content page
Table C.1: Employee Gender Composition
Utilities | 1st in Charge (CEO/GM etc) Male/Female | 2nd in Charge (Assistant GM, Deputy etc) Male/Female | No. of Senior Staff Reporting Directly to CEO |  |  | No. of Roles held by Female Senior Staff Reporting Directly to CEO | [5 empty] | Other description | Total number of staff |  |  | Total number of Technicl staff (Gen, Transm, Dist Depts |  |  | PA /Secretary (M/F) | Comments
|  |  | Total | Male | Female | Finance | Procurement/Supply | Human Resources | Customer Service/PR/Comms | Admin | Other |  | Total | Male | Female | Total | Male | Female
ASPA | M | M | 21 | 11 | 10 | 1 | 1 | 0 | 1 | 1 | 1 | Financial Strategist | 487 | 385 | 102 | 120 | 112 | 8 | F | ASPA, a Multi-function Utility ( Electric, Water, Waste water and Solid Waste
CPUC | M | M | 3 | 3 | 0 | [7 empty] | 65 | 58 | 7 | 37 | 37 | 0 | F
FEA | M | N/A | 13 | 9 | 4 | 0 | 0 | 0 | 1 | 1 | 2 | Other SBA's CEO commercial, Customer Services, Finance, Human Resources, ICT, Major Projects & System Planning & Control | 381 | 292 | 89 | 321 | 314 | 7 | F | 702 excluding 9 EMG
KUA | M | vacant | 5 | 5 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | Operation Manager | 13 | 13 | 0 | 2 | 2 | 0
NUC | M |  | 6 | 5 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | HR and Admin (same person) | 132 | 103 | 29 | 102 | 94 | 8 | F | Female technical staff undertake administrative work, as well as normal technical duties; although only 2 or 3 actually do technical work
PPL | M | M | 13 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | 1530 | 1282 | 248 | 1165 | 1050 | 115 | F | Information extracted from Establishment Report dated 23.05.2014
PPUC | M | N/A | 7 | 5 | 2 | 1 |  |  |  |  | 1 | Business Office | 241 | 29 | 212 | 186 | 186 |  | F | 186 Technical staff include Water & Wastewater Operaors, Plumbers and Mechanical, Electrical and Civil Engineers
PUC | M | 3M's and 1F | 4 | 3 | 1 | 0 | 0 | 0 | 0 | 1 |  |  | 129 | 119 | 10 | 93 | 93 | 0 | F
TAU | M | N/A | 6 | 4 | 2 | 1 |  | 1 |  |  |  |  | 50 | 38 | 12 | 31 | 29 | 2
TEC | M | M | 5 | 4 | 1 | 1 | [6 empty] | 49 | 43 | 6 | 16 | 16 | 0 | nil
TPL | M | M | 9 | 8 | 1 | 1 |  | 1 | 1 |  |  |  | 161 | 125 | 36 | 58 | 54 | 4 | F
UNELCO | M |  | 8 | 5 | 3 |  |  |  | 1 | 2 |  |  | 106 | 76 | 30 | 53 | 50 | 3 | F
YSPSC | M | M | 7 | 5 | 2 | 1 |  |  |  |  | 1 | Executive Secretary | 67 | 60 | 7 | 45 | 44 | 1 | M | These figres do not account for personnel in the Water Dept.

## Table F.1
content page
Table F.1: KPIs 2012 (Generation)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
Utility | Load Factor | Capacity Factor | Availability Factor | Generation Labour Productivity | Specific Fuel Oil Consumption (volume) | Specific Fuel Oil Consumption (weight) | Lube Oil Consumption | Forced Outage | Planned Outage | Generation (O&M) Costs | Power Station Usage | RE to Grid | IPP Energy Generation
| % | % | % | GWh/FTE gen employee | kWh/L | kWh/kg | kWh/L | % | % | US$MWh | % | % | %
ASPA | 79.7 | 43.59 | 99.64 | 2.16 | 3.73 | 4.44 | 1099 | 0.36 | 0 | 20.93 | 4.95 | 0.69
CPUC | 59.62 | 42.59 | 96.44 | n.a | 3.68 | 4.39 | 1859 | 2.64 | 0.92 | 12.85 | 0.37 | 0
CUC | 74.97 | 27.67 | 75.56 | 2.54 | 3.75 | 4.46 | 372 |  |  | 37.81 | 6.74 | 0 | 17.85
EDT | 64.79 | 29.48 | 80.27 | 5.02 | 4.65 | 4.77 | 1220 | 11.54 | 8.2 | 103.14 | 2.2 | 31.68 | 1.45
EEC | 59.2 | 40.8 | 99.99 | 9.84 | 3.74 | 4.36 | 1147 | 0 | 0 | 36.92 | 1.9 | 4.83 | 95.16
EPC | 64.62 | 35.46 | 100 | 0.5 | 3.8 | 4.53 | 1329 | 0 | 0 | 49.08 | 1.42
FEA | 62.17 | 36.5 | 100 | 0.61 | 4.83 | 4.83 | 639 | 0 | 0 | 11.25 | 0.96 | 67.1 | 1.93
GPA | 78.82 | 28.92 | 73.97 | 4.21 | 4.14 | 4.6 | 2205 | 3.45 | 22.58 | 33.86 | 8.78 | 0 | 37.49
KAJUR | 85.5 | 43.8 | 99.79 | 0.52 | 4.02 | 4.46 | 1349 | 0.21 | 0 | 90.62 | 4.96 | 0
KUA | 54.84 | 11.41 | 99.95 | 0.73 | 3.58 | 4.26 | 873 | 0.03 | 0.02 | 70.52 | 1.21 | 0
MEC | 80.53 | 34.2 | 100 | 1.24 | 4.05 | 4.82 | 709 | 0 | 0 | 47.33 | 7 | 0.28
NUC | 72.01 | 56.63 | 77.61 | n.a | 3.54 | 4.21 | 782 | 21.87 | 0.51 | 9.48 | 1.78 | 0.23
PPUC | 73.07 | 33.56 | 99.48 | 1.03 | 3.92 | 4.66 | 1006 | 0 | 0.52 | 41.44 | 6.1 | 0.39
PUB | 53.09 | 47.25 | 99.54 | 0.64 | 3.81 | 4.54 | 2001 | 0.46 | 0 | 52.74 | 4.68 | 0 | 0
PUC | 62.46 | 42.19 | 67.06 | 1.34 | 3.23 | 3.85 | 270 | 32.3 | 0.64 | 20.39 | 5.65 | 0
SIEA | 60.62 | 35.52 | 100 | 0.93 | 3.82 | 4.55 | 984 |  |  | 85.65 | 3.55 | 0
TAU | 71.97 | 33.48 | 72.68 | 1.55 | 3.78 | 4.5 | 667 | 18.31 | 9 | 33.52 | 2 | 1.1 | 0
TEC | 64.23 | 33.18 | 99.93 | 0.37 | 3.72 | 4.43 | 2125 | 0.07 | 0 | 79.48 | 2.92 | 0.9
TPL | 67.34 | 45.9 | 99.82 | 1.47 | 4.08 | 4.86 | 963 | 0.16 | 0.02 | 30.74 | 2.68 | 0
UNELCO | 60.15 | 32.66 | 96.46 | 1.94 | 3.94 | 4.66 | 903 | 1.07 | 2.47 | 39.54 | 2.61 | 13.75
YSPSC | 66.99 | 18.57 | 99.88 | 0.73 | 3.81 | 4.54 | 520 | 0.08 | 0.04 | 78.36 | 0.01 | 0

## Table F.2
content page
Table F.2: KPIs 2012 (Generation, Distribution)
| 13a | 13b | 13c | 13d | 13e | 14 | 18 | 19 | 20 | 21 | 22 | 23
Utility | Distillate Generation | Heavy Fuel Oil Generation | Biofuel Generation | Mixed Fuel generation | LNG Generation | Enabling Framework for Private Sector | Network Delivery Losses | Distribution Losses | Customers per Distribution Employees | Distribution Reliability | Distribution Transformer Utilisation | Distribution O & M Cost
| % | % | % | % | %
ASPA | 99.3 | 0 | 0 | 0 | 0 | No | 8.44 | 8.4 | 204 | 17.5 | 21.2 | 9410
CPUC | 100 | 0 | 0 | 0 | 0 | Yes | 28.07 | 28.1 | 100 | 618.3 | 8.2 | 3813
CUC | 100 | 0 | 0 | 0 | 0 | Yes | 16.05 | 14.2 | 262 | 10.9 | 17.7 | 5171
EDT | 0.3 | 68 | 0 | 0 | 0 | Yes | 7.52 | 6 | 386 | 2.6 | 14.7 | 15506
EEC | 0 | 0 | 0 | 0 | 0 | Yes | 4.9 | 4.9 | 234 | 11 | 15.8 | 11297
EPC | 63.5 | 0 | 0 | 0 | 0 | Yes | 15.26 | 15.3 | 206 | 8.6 | 9.2 | 23267
FEA | 13.4 | 16.8 | 0 | 0 | 0 | Yes | 3.95 | 10.2 | 408 | 24.7 | 19.9 | 3062
GPA | 1.7 | 98.3 | 0 | 0 | 0 |  | 7.14 | 7 | 283 | 23 | 19.9 | 19561
KAJUR | 0 | 100 | 0 | 0 | 0 | No | 21.88 | 21.9 | 161 | 28.2 | 19.4 | 7774
KUA | 115.6 | 0 | 0 | 0 | 0 | No | 1.82 | 1.8 | 169 | 33.1 | 6.4 | 3640
MEC | 99.7 | 0 | 0 | 0 | 0 | No | 23.66 | 23.7 | 82 | 27.8 | 17.3 | 26818
NUC | 99.8 | 0 | 0 | 0 | 0 | No | 28.75 | 28.7 | 155 | 0 | 10.2 | 6003
PPUC | 100 | 0 | 0 | 0 | 0 | Yes | 11.52 | 11.5 | 269 | 25.3 | 13.2 | 5078
PUB | 100 | 0 | 0 | 0 | 0 | No | 12.71 | 12.7 | 440 | 393.1 | 22.4 | 4703
PUC | 100 | 0 | 0 | 0 | 0 | No | 18.96 | 19 | 125 | 4.7 | 32.2 | 2009
SIEA | 100 | 0 | 0 | 0 | 0 | No | 12.01 | 12 | 351 | 2.4 | 10.8 | 79
TAU | 100 | 0 | 0 | 0 | 0 | Yes | 7.53 | 7.5 | 97 | 2.4 | 19.7 | 5977
TEC | 99.1 | 0 | 0 | 0 | 0 | Yes | 20.56 | 20.6 | 565 | 26.9 | 14.1 | 394689
TPL | 100 | 0 | 0 | 0 | 0 | Yes | 12.24 | 12.2 | 236 | 58.3 | 16.1 | 15542
UNELCO | 86.3 | 0 | 4.8 | 0 | 0 | Yes | 4.93 | 4.9 | 309 | 2.6 | 18.8 | 1578
YSPSC | 100 | 0 | 0 | 0 | 0 | No | 25.09 | 25.1 | 119 | 31.8 | 7.9 | 2961

## Table F.3
content page
Table F.3: KPIs 2012 (Generation, Distribution, SAIDI & SAIFI)
| 24a | 24b | 25a | 25b | 25c | 25d | 25e | 25f | 25g | 25h | 25i | 25j | 25k
Utility | Dist Related SAIDI (Unplanned) | Dist Related SAIDI (planned) | Dist SAIFI (Total) | Dist Related SAIFI (Unplanned) | Dist Related SAIFI (Planned) | Gen SAIDI (Total) | Gen related Saidi (unplanned) | Gen Related SAIDI (Planned) | Gen SAIFI (Total) | Gen Related SAIFI (Unplanned) | Gen Related SAIFI (planned) | Total SAIDI (Gen and Dist) | Total SAIFI (Gen and Dist)
| mins per customer | mins per customer | events per customer | events per customer | events per customer | mins per customer | mins per customer | mins per customer | mins per customer | events per customer | events per customer | mins per customer | events per customer
ASPA | 62 | 5 | 2.8 | 2.7 | 0 | 21 | 21 | 0 | 1.6 | 1.6 | 0 | 88 | 4.4
CPUC | 10860 | 19740 | 0 | 0 | 0 | 47520 | 40440 | 7080 | 0 | 0 | 0 | 78120 | 0
CUC | 283 | 209 | 8.2 | 4.4 | 3.7 | 53 | 53 | 0 | 2.4 | 2.4 | 0 | 545 | 10.5
EDT | 82 | 372 | 0 | 0 | 0 | 10 | 10 | 0 | 0.9 | 0.9 | 0 | 464 | 0.9
EEC | 137 | 93 |  |  |  | 78 | 60 | 18 |  |  |  | 308 | 0
EPC | 315 | 279 | 7.3 | 6.1 | 1.2 | 197 | 197 | 0 | 2.9 | 2.9 | 0 | 791 | 10.2
FEA | 2110 | 478 | 492.4 | 14.8 | 477.6 | 65 | 65 | 0 | 3.8 | 3.8 | 0 | 2652 | 496.2
GPA | 101 | 3 | 4.8 | 4.7 | 0.1 | 68 | 68 | 0 | 10 | 10 | 0 | 172 | 14.8
KAJUR | 87 | 7 | 4.4 | 4.3 | 0.1 | 857 | 845 | 12 | 31.2 | 30.7 | 0.5 | 951 | 35.5
KUA | 699 | 115 | 9.3 | 7.8 | 1.4 | 31 | 31 | 0 |  | 0.6 |  | 845
MEC | 3175 | 707 | 5.1 | 4.4 | 0.7 | 10002 | 9884 | 119 | 6.8 | 6.1 | 0.7 | 13884 | 11.9
NUC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PPUC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PUB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PUC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SIEA | 453 | 48 | 16.4 | 12.7 | 3.7 | 1289 | 1265 | 24 | 34.3 | 31.5 | 2.9 | 1789 | 50.7
TAU | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0.9 | 0.9 | 0 | 0 | 1.1
TEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UNELCO | 51 | 266 | 5.2 | 2.2 | 3 | 158 | 124 | 34 | 5.7 | 4.7 | 1 | 475 | 10.9
YSPSC | 312 | 5 | 1.6 | 1.5 | 0.1 | 17388 | 16847 | 540 | 15.1 | 14.1 | 1 | 17704 | 16.7

## Table F.4
content page
Table F.4: KPIs 2012 (DSM,HR and Safety, Customer)
| 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36a | 36b | 36c | 36d | 36e | 37 | 38
Utility | DSM Initiatives | DSM Budget | DSM FTE Empl | DSM MWh Savings | Power Quality Standards | Lost Time Injury Duration | Lost Time Injury Freq Rate | Labour Productivity | Service Coverage | Productive Electricity Usage | Lifeline Tariff Usage | Domestic Usage | Commercial Usage | Industrial Usage | Other usage | Customer Unbilled Electricity | Self-Regulated or Externally Regulated
|  | USD | FTE empl | MWh |  | days | injuries per million hrs worked | customers/FTE empl | % | % | % | % | % | % | % | % | self/ext
ASPA | No |  | 0 | 0 | NEC, NESC, RUS | 0.09 | 29.6 | 102 | 97.8 | 70.3 | 0 | 29.7 | 28.2 | 16.3 | 25.9 | 0 | self
CPUC | Yes |  | 0 | No | USA NEC50 | 0.3 | 102.9 | 26 | 79.6 | 72.5 | 0 | 22.6 | 54.3 | 0 | 18.2 | 4.9 | self/ext
CUC | Yes |  | 0 | n.a | US |  |  | 121 | 64.6 | 96.5 | 0.6 | 25.6 | 73.8 |  | 22.7 | 2.9 | ext
EDT | Yes | 9810 | 0 | Yes | None | 0.58 | 8.6 |  | 98.2 | 64.7 | 8.3 | 27 | 17.7 | 46.9 | 0 | 0 | ext
EEC | Yes | 109000 | 0 | 0 | EN50160 | 0.17 | 7 | 896 | 62.7 | 63.9 | 0 | 36.1 | 25.8 | 38.1 | 0 | 1.4 | ext
EPC | Yes |  | 0 | No | AS/NZ 3000/2007 | 0.17 | 3.7 | 34 | 97 | 71 | 0 | 29 | 43.5 | 6 | 21.5 | 0 | ext
FEA | Yes | 84330 | 0 | 0 | FEA Grid Code under AS | 0.12 | 8.2 |  | 82.1 | 72.5 | 1.8 | 27.5 | 44.6 | 26.2 | 1.7 | 0 | self
GPA | Yes |  | 0 | No | US Standard | 0.15 | 10.4 | 76 | 100 | 69.9 | 12.6 | 16.7 | 35.9 | 22 | 12 | 0.7 | ext
KAJUR | No | [6 empty] | 29 | 102.8 | 49.6 | 0 | 50.4 | 31 | 0 | 18.6 | 9.3 | ext
KUA | Yes |  | 0 | 0 | 0 | 0 | 0 | 86 | 76.6 | 33.9 | 39.3 | 0 | 27.3 | 6.5 | 0 | 29.2 | self
MEC | No |  | 0 | n.a | No | 0.02 | 2.3 | 36 | 41.5 | 63.8 | 10.3 | 36.2 | 42.7 | 0 | 21.1 | 30.5 | self
NUC | Yes |  | 0 | 0 | None | 0 | n.a | 46 | 100 | 47.6 | 0 | 52.4 | 35.6 | 4.9 | 7.1 | 3.2 | self
PPUC | Yes |  | 0 | 0 | US AND JAPAN | 0 | 0 | 55 | 95 | 70.8 | 0 | 29.2 | 39.1 | 31.7 | 0 | 3.2 | self
PUB | No |  | 0 | 0 | 0 | 0 | 0 | n.a | 40.7 | 84.4 | 0 | 49.7 | 16.1 | 34.1 | 34.1 | 14.6 | ext
PUC | No |  | 0 | 0 | NONE | 0 | 0 | 42 | 96 | 43.8 | 0 | 56.2 | 23.6 | 0 | 20.2 | 2.9 | ext
SIEA | No |  | 0 | 0 | none | 0.21 | 30.9 | 89 | 12 | 69578.3 | 0 | ? | ? | ? | ? | 4.2 | self
TAU | Yes | 112714 | 0 | 577 | NZ Standard | 0 | 0 | 100 | 99.9 | 67.7 | 9.5 | 22.6 | 39.3 | 28.3 | 0 | 2.6 | self
TEC | Yes |  | 0 | No | AS and NZS | 0 | 0 |  | 120.1 | 58.3 | 0 | 40.8 | 33.2 | 25.1 | 0 | 13.7 | self
TPL | Yes |  | 0 | 0 | 0 | 0.14 | 5.5 | 102 | 113.5 | 39.3 | 0 | 60.4 | 39.3 | 0 | 0 | 0 | ext
UNELCO | No |  | 0 | 0 | Concession contract | 0 | 0 | 118 | 21.6 | 66.7 | 6.7 | 26.6 | 24.3 | 42 | 0.4 | 1.1 | ext
YSPSC | No |  | 0 | 0 | NEC | 0.03 | 7.6 | 25 | 57.1 | 72.3 | 6.8 | 25.6 | 45.4 | 0 | 27 | 7.8 | self

## Table F 5
content page
Table F.5:KPIs 2012 (Transmission)
| 15 | 16 | 17a | 17b | 17c | 17d | 17e | 17f
Utility | Transmission Losses | Transmission Reliability | Trans SAIDI (planned) | Trans SAIDI (unplanned) | Trans SAIDI Total | Trans SAIFI (Unplanned) | Trans SAIFI (planned) | Trans SAIFI Total | Total SAIDI ( Gen Dist Tran) | Total SAIFI (Gen Dist Tran)
| % | outage/s 100km | min per cust | min per cust | min per cust | events/cust | events/cust | events/cust | min per cust | events per cust
EDT | 1.6 | 2.3 | 97.1 | 0 | 97.1 | 1.6 | 0 | 1.6 | 561.2 | 2.5
FEA | ? | 15.9 | 0 | 0 | 0 | 6.3 | 0 | 6.3 | 2651.8 | 502.5
GPA | 0.2 | 16.3 | 60.9 | 0 | 60.9 | 2.3 | 0 | 2.3 | 232.7 | 17.1

## Table F 6
content page
Table F.6 KPIs 2012 (Financial and Utility Cost Breakdown)
Utility | Operating Ratio | Debt to Equity Ratio | Rate of Return on Assets | Return on Equity | Current Ratio | Debtor Days | Average Supply Cost | Fuel and Lube Oil | Fuel Duty | Gen O&M | Gen Labour | Gen Deprec | T & D O & M | T&D Labour | T&D Deprec | Other O/Hs | Other Deprec | Other Taxes | OtherMisc
|  | % | % | % |  | days | Usc/kWh | % | % | % | % | % | % | % | % | % | % | % | %
ASPA | 102.4 | 2.7 | 3.5 | 3.3 | 280.9 | 45.8 | 38.8 | 71.7 | 0.7 | 4.3 | 1.4 | 4.1 | 3.4 | 1.1 | 3 | 6.1 | 0.2 | 2 | 2.1
CPUC | 108.2 | 114.2 | -72.5 | 100 | 19.2 | 21.7 | 56.6 | 73.8 | 0.1 | 0.5 | 2.4 | 0.9 | 0 | 2.1 | 5.1 | 5.3 | 0.6 | 0 | 9.1
CUC | 98.5 | 12.5 | -254.4 | -3.9 | 201.7 | 60.2 | 37.7 | 73.8 | 0 | 4.7 | 3.8 | 2.5 | 0.6 | 1.9 | 1.7 | 2.8 | 0.2 | 0 | 8
EDT | 97.7 | 21.8 | 2 | 8.7 | 32.8 | 94 | 38.7 | 34.8 | -7.7 | 21 | 6.8 | 7.9 | 12.9 | 4.7 | 7.5 | 8.8 | 0 | 2.3 | 1.1
EEC | 89.1 | 0 | 1.7 | 21.7 | 87.1 | 55 | 28.3 | 7.3 | 0 | 0.8 | 0.8 | 0.7 | 3.4 | 37.4 | 12.3 | 37.4 | 0 | 0 | 0
EPC | 106.4 | 1.6 | 2.4 | 1 | 84.2 | 34.1 | 42 | 48.9 | 6.4 | 8.3 | 2.1 | 3.3 | 3.2 | 9.6 | 3.7 | 10.6 | 1 | 0 | 2.9
FEA | 73.1 | 34.7 | 8.8 | 13.7 | 125.4 | 41.3 | 14.1 | 47.1 | 0.4 | 6.4 | 0.8 | 6.6 | 19.9 | 1.4 | 7.6 | 5.6 | 1.5 | 0.6 | 2.2
GPA | 93.6 | 81.7 | 5.2 | -1.7 | 87.9 | 46.5 | 25.3 | 70.6 | 0 | 6.1 | 2.8 | 4 | 3.1 | 1.7 | 2.7 | 4.1 | 0.4 | 0 | 4.5
KAJUR | 247.2 | 23.2 | -99.4 | -21.1 | 2113.1 | 1.3 | 44.4 | 35.4 | 0.1 | 7.7 | 3.3 | 11.9 | 0.3 | 0.8 | 26.9 | 2 | 11.2 | 0.2 | 0.2
KUA | 111.4 | 0 | -7.4 | -7.1 | 193 | 0 | 50.4 | 56.3 | 0 | 7.8 | 3 | 5.7 | 7.6 | 2.1 | 6.2 | 6 | 0.9 | 0.1 | 4.4
MEC | 98.8 | 293.1 | 4.6 | 0.2 | 84.7 | 157.4 | 44.3 | 65.8 | 0 | 6.6 | 7.6 | 4.7 | 3.7 | 3.3 | 0.3 | 4.4 | 0.6 | 0.3 | 2.7
NUC | 93.8 | n.a | n.a | n.a | n.a | 0 | 16.6 | 0 | 10.1 | 0 | 35.3 | 0 | 40.8 | 13.8 | 0 | 0 | 0 | 0 | 0
PPUC | 102.8 | 0 | -2.1 | -1.3 | 222.4 | 55.1 | 38.3 | 73.5 | 0 | 8.2 | 4.1 | 4.4 | 1.6 | 1.9 | 2.1 | 2.5 | 0.9 | 0 | 0.7
PUB | 111.4 |  | -6.8 |  | 80.9 | 200.4 | 52.3 | 68.1 | 0 | 6.4 | 3.5 | 4.4 | 3.2 | 3 | 0.6 | 2.3 | 0.8 | 0 | 7.8
PUC | 109.1 | 0 | -131.2 | -11.5 | 93.9 | 21.4 | 50.8 | 74.5 | 0 | 2.3 | 2.5 | 6.1 | 1.4 | 2.4 | 3.7 | 2.6 | 0.2 | 0.1 | 4.1
SIEA | 89.1 | 0 | 19.5 | 13 | 730.8 | 76.1 | 75.1 | 65.6 | 0 | 12 | 1.6 | 4.7 | 0.5 | 1.4 | 1.8 | 4.9 | 2 | 0.2 | 5.3
TAU | 85.9 | 1.3 | 22.8 | 10.5 | 871.8 | 53 | 52.3 | 55.4 | 0 | 4.1 | 2.1 | 4.8 | 2 | 1.2 | 2.8 | 3.9 | 1.3 | 0 | 22.4
TEC | 106.6 | 83.5 | 8.1 | 53.4 | 97.6 | 27.9 | 96.6 | 23.3 | 0.9 | 1 | 2.7 | 4 | 23.3 | 0.9 | 1.2 | 2.2 | 1.2 | 1.5 | 38
TPL | 81.7 | 12.3 | 8 | 5.2 | 101.9 | 8.8 | 40.3 | 51 | 0 | 5 | 1.1 | 4 | 8.4 | 3.4 | 6.3 | 1.8 | 1.4 | 0 | 17.6
UNELCO | 92.2 | 22.9 | 2.3 | 11 | 196.3 | 61.1 | 47.2 | 58.5 | 8.4 | 6.9 | 2.3 | 5 | 1.9 | 1 | 9 | 0 | 7 | 0 | 0
YSPSC | 106.8 | 22.9 | -4.7 | -4.6 | 289.3 | 71.2 | 56.2 | 61.4 | 0 | 10.8 | 3.3 | 6.6 | 3 | 2.1 | 1.2 | 4.7 | 1.4 | 0.1 | 5.4

## Table H1
content page
Table H.1: Electricity Tariff Table (Local Currency)
Total Cost to Consumer for Set kWh/mth, incl base charge, taxes, etc ( In local currency)
Domestic/Residential | [9 empty] | Commercial/Business
Utility | Local Currency | 50 | 100 | 200 | 500 | 1000 | 2000 | 3000 | 10000 | 1000 | 3000 | 10000 | 50000
ASPA | USD | 26 | 46 | 87 | 208 | 410 | 814 | 1218 | 4046 | 423 | 1249 | 4141 | 20667
CPUC | USD | 28 | 56 | 112 | 281 | 562 | 1124 | 1686 | 5620 | 592 | 1776 | 5920 | 29600
CUC | USD | 23 | 39 | 71 | 169 | 375 | 798 | 1278 | 4634 | 434 | 1281 | 4246 | 21186
EPC | WST | 43 | 94 | 195 | 500 | 1008 | 2024 | 3040 | 10152 | 1016 | 3048 | 10160 | 50800
FEA | FJD | 9 | 23 | 58 | 162 | 336 | 685 | 1382 | 3820 | 420 | 1260 | 4200 | 21700
KAJUR | USD | 15 | 30 | 60 | 149 | 298 | 596 | 894 | 2980 | 358 | 1074 | 3580 | 17900
KUA | USD | 18 | 37 | 78 | 200 | 404 | 822 | 1240 | 4166 | 417 | 1273 | 4269 | 20989
MEC | USD | 20 | 40 | 80 | 199 | 408 | 826 | 1244 | 4170 | 478 | 1434 | 4780 | 23900
NPC | NZD | 40 | 65 | 125 | 335 | 685 | 1385 | 2085 | 6985
NUC | AUD | 5 | 10 | 20 | 70 | 170 | 370 | 570 | 1970 | 250 | 750 | 2500 | 12500
PPL | PGK | 43 | 83 | 165 | 409 | 817 | 1631 | 2446 | 8149 | 967 | 2865 | 9507 | 47463
PPUC | USD | 19 | 36 | 68 | 166 | 358 | 742 | 1126 | 4129 | 429 | 1287 | 4290 | 21450
PUB | AUD | 20 | 40 | 80 | 200 | 400 | 800 | 1200 | 4000 | 550 | 1650 | 5500 | 27500
PUC | USD | 29 | 53 | 102 | 249 | 495 | 985 | 1476 | 4909 | 491 | 1472 | 4905 | 24525
SIEA | SBD | 299 | 598 | 1195 | 2988 | 5976 | 11951 | 17927 | 59756 | 6253 | 18758 | 62526 | 312630
TAU | NZD | 29 | 66 | 146 | 398 | 818 | 1658 | 2498 | 8378 | 815 | 2435 | 8105 | 40505
TEC | AUD | 15 | 35 | 91 | 259 | 539 | 1099 | 1659 | 5579 | 560 | 1680 | 5600 | 28000
TPL | TOP | 42 | 85 | 170 | 424 | 849 | 1697 | 2546 | 8486
UNELCO | VUV | 1070 | 4332 | 15930 | 38787 | 76882 | 153071 | 229260 | 762584 | 57547 | 167099 | 550533 | 2741583
YSPSC | USD | 21 | 45 | 87 | 219 | 444 | 895 | 1345 | 4500 | 456 | 1516 | 5228 | 26440

## Table H2
content page
Table H.2: Electricity Tariff Table USD Currency)
Total Cost to Consumer for Set kWh/mth, incl base charge, taxes, etc ( converted to USD)
Domestic/Residential | [8 empty] | Commercial/Business |  |  |  | Comments
Pacific Utilities | 50 | 100 | 200 | 500 | 1000 | 2000 | 3000 | 10000 | 1000 | 3000 | 10000 | 50000
ASPA | 26.2 | 46.4 | 86.81 | 208.02 | 410.03 | 814.06 | 1218.09 | 4046.3 | 423 | 1249 | 4141 | 20667 | Comercial based on small general 3PHSE
CPUC | 28.1 | 56.2 | 112.4 | 281 | 562 | 1124 | 1686 | 5620 | 592 | 1776 | 5920 | 29600 | Based on8 Fb 2012 announcement
CUC | 22.74 | 38.96 | 71.41 | 168.76 | 374.7 | 798.2 | 1277.7 | 4634.2 | 434 | 1281 | 4246 | 21186 | 2 Feb 2012 sched of charges, lieline applied up to 500KWh
EPC | 19 | 41.51 | 86.52 | 221.54 | 446.59 | 896.68 | 1346.76 | 4497.38 | 450 | 1350 | 4501 | 22504 | 0.86 applied up o 50kWh for domestic
FEA | 5.32 | 12.88 | 32.47 | 91.23 | 189.17 | 385.04 | 776.78 | 2147.87 | 236 | 708 | 2361 | 12200
KAJUR | 14.9 | 29.8 | 59.6 | 149 | 298 | 596 | 894 | 2980 | 358 | 1074 | 3580 | 17900 | Lifeline rate was stated but without any indication as to the KWh
KUA | 18.4 | 36.8 | 77.6 | 200 | 404 | 822 | 1240 | 4166 | 417 | 1273 | 4269 | 20989 | Rate was quoted from resolution 2008-30-4
MEC | 19.9 | 39.8 | 79.6 | 199 | 408 | 826 | 1244 | 4170 | 478 | 1434 | 4780 | 23900
NPC | 31.96 | 51.93 | 99.86 | 267.63 | 547.25 | 1106.48 | 1665.71 | 5580.32 |  |  |  |  | No commercial rate stated on notice issue 8 Nov 2008
NUC | 5.16 | 10.33 | 20.65 | 72.29 | 175.56 | 382.1 | 588.64 | 2034.42 | 258 | 775 | 2582 | 12909 | Tariff rate 2011
PPL | 21.6 | 42.22 | 83.46 | 207.18 | 413.38 | 825.78 | 1238.19 | 4124.99 | 489 | 1450 | 4812 | 24026 | Commercial uses "generally supply customers"
PPUC | 19.3 | 35.6 | 68.2 | 166 | 358 | 742 | 1126 | 4129 | 429 | 1287 | 4290 | 21450
PUB | 20.72 | 41.44 | 82.87 | 207.18 | 414.36 | 828.72 | 1243.08 | 4143.6 | 570 | 1709 | 5697 | 28487
PUC | 28.53 | 53.05 | 102.1 | 249.25 | 494.5 | 985 | 1475.5 | 4909 | 491 | 1472 | 4905 | 24525 | Fuel charge 0.3905 as advised by PUC Iin email
SIEA | 44.04 | 88.08 | 176.16 | 440.4 | 880.8 | 1761.61 | 2642.41 | 8808.03 | 922 | 2765 | 9216 | 46082
TAU | 22.95 | 53.3 | 117.71 | 320.59 | 658.73 | 1335.02 | 2011.3 | 6745.29 | 656 | 1960 | 6525 | 32611
TEC | 15.54 | 35.74 | 93.75 | 267.78 | 557.83 | 1137.94 | 1718.04 | 5778.77 | 580 | 1740 | 5801 | 29005
TPL | 24.87 | 49.74 | 99.47 | 248.68 | 497.36 | 994.73 | 1492.09 | 4973.64 |  |  |  |  | No commercial rate stated
UNELCO | 11.77 | 47.65 | 175.24 | 426.66 | 845.7 | 1683.78 | 2521.86 | 8388.43 | 633 | 1838 | 6056 | 30157 | Used business license holder LV for commercial
YSPSC | 21.06 | 44.77 | 87.19 | 218.58 | 443.93 | 894.63 | 1345.33 | 4500.23 | 456 | 1516 | 5228 | 26440