## Source
Selected tables extracted from the Pacific Power utilities benchmarking report. 2013 & 2014 Fiscal years
REPORT WAS PREPARED BY THE PACIFIC POWER ASSOCIATION (PPA) WITH TECHNICAL SUPPORT FROM THE PACIFIC REGION INFRASTRUCTURE FACILITY (PRIF) - JULY 2016
Copy of the report an be accessed from the following PRDR link:
http://prdrse4all.spc.int/node/4/content/performance-benchmarking-pacific-power-utilities-report-july-2016-baseline-year-study
report was sourced from the PPA website
http://www.ppa.org.fj/wp-content/uploads/BenchmarkingReport2013-2014FiscalYear210716.pdf

## Content
Content
Table 1.1 | Utility Participation in Benchmarking 2001, and 2010 - 2014 Data Periods
Table 1.2 | Economies and Populations of Independent Pacific Island Countries
Table 1.3 | Economies and Populations of Pacific Island Territories or Dependencies
Table 2.1 | Ownership, Regulatory Structures of Utilities, and Quality Standards
Table 2.2 | Governance Scorecard
Table 3.1 | Key Data Component Reliability Assessment Questions
| Table 4.1: Key Data Component Reliability Assessment Questions | table not extracted from report
| Table 4.2: Grading Schema | table not extracted from report
Table 5.1 | Utility Key Characteristics
Table 5.2 | Transmission Indicators 2014 (2013) (2012)
Table 5.3 | Utility Demand Side Management Efforts in 2013FY and 2014FY
| Table 5.4: Composite Indicator Components for 2014FY | table not extracted from report
Table 6.1 | Summary of Indicator Trends 2014FY26
Table 6.2 | Comparison of 2014FY Results with 2010FY, 2011FY, 2012FY and 2013FY
| Table A : PPA Member Utilities in 2015 | table not extracted from report
| Table D.1: Data Reliability Self-Assessment Responses 2014 | table not extracted from report
| Table E.1: Key Performance Indicators 2012 | table not extracted from report
Table F.1 | KPIs 2014 (Generation)
Table F.2 | KPIs 2014 (Generation, Distribution)
Table F.3 | KPIs 2014 (Generation and Distribution, SAIDI & SAIFI)
Table F.4 | KPIs 2014 (DSM, HR and Safety, Customer)
Table F.5 | KPIs 2014 (Transmission)
Table F.6 | KPIs 2014 (Financial and Utility Cost Breakdown)
| Table G.1: Currency Conversion Table for 2013 and 2014 Data | table not extracted from report
Table H.1 | Electricity Tariff Table (Local Currency)
Table H.2 | Electricity Tariff Table (USD)

## Tab 1.1
content
Table 1.1: Utility Participation in Benchmarking 2001, and 2010 - 2014 Data Periods
| Utility |  |  | Data Period
|  |  |  | 2001 | 2010 | 2011 | 2012 | 2013 | 2014
| Acronym | Name | Country Territory | Year Data Collected
|  |  |  | 2002 | 2011 | 2012/2013 | 2013/2014 | 2015 | 2015
1 | ASPA | American Samoa Power Authority | American Samoa | √ | √ | √ | √ | √ | √
2 | CPUC | Chuuk Public Utility Corporation | Fed States of Micronesia (FSM) | √ | √ | √ | √ | √ | √
3 | CUC | Commonwealth Utilities Corporation | Commonwealth of Northern Marianas | X | √ | √ | √ | √ | X
4 | EDT | Electricité de Tahiti | French Polynesia | √ | √ | √ | √ | √ | √
5 | EEC | Electricité et Eau de Caledonie | New Caledonia | √ | X | X | √ | √ | √
6 | EEWF | Electricité et Eau de Wallis et Futuna | Wallis and Futuna | √ | X | X | X | X | X
7 | ENERCAL | Societe Neo-Caledonenne D’Energie | New Caledonia | √ | X | X | X | X | X
8 | EPC | Electric Power Corporation | Samoa | √ | √ | √ | √ | √ | √
9 | FEA | Fiji Electricity Authority | Republic of Fiji | √ | √ | √ | √ | √ | √
10 | GPA | Guam Power Authority | Guam | √ | √ | √ | √ | √ | √
11 | HECO | Hawaii Electric Company | Hawaii (USA) | X | X | X | X | √ | √
12 | KAJUR | Kwajalein Atoll Joint Utility Resources | Republic of Marshall Islands (RMI) | √ | √ | √ | √ | √ | √
13 | KUA | Kosrae Utilities Authority | Federated States of Micronesia (FSM) | √ | √ | √ | √ | √ | √
14 | MEC | Marshall Energy Company | Republic of Marshall Islands (RMI) | X | √ | √ | √ | √ | √
15 | NPC | Niue Power Corporation | Niue | √ | √ | X | X | X | X
16 | NUA | Nauru Utilities Corporation | Republic of Nauru | X | √ | √ | √ | X | X
17 | PPL | PNG Power Ltd. | Papua New Guinea (PNG) | √ | √ | √ | X | √ | √
18 | PPUC | Palau Public Utilities Corporation | Republic of Palau | √ | √ | √ | √ | √ | √
19 | PUB | Public Utilities Board | Republic of Kiribati | √ | √ | √ | √ | √ | √
20 | PUC | Pohnpei Utilities Corporation | Federated States of Micronesia (FSM) | √ | X | √ | √ | √ | X
21 | SIEA | Solomon Islands Electricity Authority | Solomon Islands | √ | √ | √ | √ | √ | √
22 | TAU | Te Aponga Uira O Tumu -Te-Varovaro | Cook Islands | √ | √ | √ | √ | √ | √
23 | TEC | Tuvalu Electricity Corporation | Tuvalu | X | √ | √ | √ | √ | √
24 | TPL | Tonga Power Limited | Tonga | √ | √ | √ | √ | √ | √
25 | UNELCO | UNELCO Vanuatu Limited | Vanuatu | √ | √ | √ | √ | √ | √
26 | YSPSC | Yap State Public Service Corporation | Federated States of Micronesia (FSM) | X | √ | √ | √ | √ | √
|  |  | Total | 20 | 19 | 21 | 21 | 22 | 20

## Tab 1.2
content
Table 1.2 Economies and Populations of Independent Pacific Island Countries
| Country | Population (2015 est) | Land Area (km2) | GDP per capita
|  |  |  | US$ | Year
| Cook Islands | 15575 | 237 | 9100 | 2005
| Fiji | 909389 | 18237 | 7900 | 2013
| Kiribati | 111200 | 811 | 1600 | 2013
| RMI | 72191 | 181 | 3300 | 2013
| FSM | 105216 | 701 | 3000 | 2013
| Nauru | 10600 | 21 | 12500 | 2013
| Palau | 17700 | 444 | 13500 | 2013
| PNG | 7578200 | 462840 | 2300 | 2013
| Samoa | 197773 | 2785 | 5100 | 2013
| Solomon Is. | 611500 | 30407 | 1900 | 2013
| Tonga | 106501 | 650 | 4800 | 2013
| Tuvalu | 11000 | 26 | 3200 | 2013
| Vanuatu | 271100 | 12281 | 2500 | 2013
Sources: 1. Population and GDPs sourced from CIA, The World Factbook 2. ADB, Pacific Economic Monitor (2012), 3. http://www.asiapacific.
undp.org/content/dam/rbap/docs/Research%20&%20Publications/poverty/State_Human_Development_Pacific_repo
rt.pdf

## Tab 1.3
content
Table 1.3: Economies and Populations of Pacific Island Territories or Dependencies3
| Dependency or Territory | Population (2015 est) | Land Area (km2) | GDP per capita
|  |  |  | US$ | Year
| American Samoa | 54353 | 199 | 13000 | 2013
| Guam | 161785 | 541 | 30500 | 2013
| Niue | 1190 | 259 | 5800 | 2003
| Northern Mariana Islands | 52344 | 457 | 13300 | 2013
| New Caledonia | 271615 | 18576 | 38800 | 2012
| French Polynesia | 282703 | 3521 | 26100 | 2012
| Hawaii | 1431806 | 16636 | 49479 | 2015
Sources: 1. Population and GDPs sourced from CIA, The World Factbook 2. ADB, Pacific Economic Monitor (2012)
http://www.deptofnumbers.com/gdp/hawaii/
foot note
3. French Polynesia is designated as an overseas territory. In 2003 it became an overseas collectivity (collectivités d'outre-mer or COM) and in 2004 an overseas country inside the French Republic (pays d'outre-mer au sein de la République, or POM), with considerable autonomy but without a legal modification of its status. New Caledonia was also an overseas territory but gained a special status (statut particulier or statut original) in 1999, with New Caledonian citizenship and a gradual transfer of power from France to New Caledonia itself

## Tab 2.1
content
Table 2.1: Ownership, Regulatory Structures of Utilities, and Quality Standards
| Utility | Ownership | Regulation | Power Quality Standards
| ASPA | Public | Self | None
| CPUC | Public | Self | None
| CUC | Public | External | USA
| EDT | Private | External | None
| EEC | Private | External | EN50160
| EPC | Public | External | None
| FEA | Public | External | Aus/NZ
| GPA | Public | Self | None
| HECO | Public | Self | USA
| KAJUR | Public | Self | None
| KUA | Public | External | KUA
| MEC | Public | Self | None
| PPL | Public | External | AUS
| PPUC | Public | Self | JIS, NEC
| PUB | Public | Self | AUS
| PUC | Public | External | USA
| SIEA | Public | Self | AUS
| TAU | Public | External | NZ
| TEC | Public | Self | Aus/NZ
| TPL | Public | External | TPL Standard
| UNELCO | Private | External | Consession Contract
| YSPSC | Private | Self | NEC
EEWF, ENERCAL, NPC, Nua are part of the not assessed

## Tab 2.2
content
Table 2.2: Governance Scorecard
| Governance Indicator | Good Governance | Poor Governance | Weighting
| Are Ministers appointed to the Board? | No | Yes | 12%
| Are Ministers/ public servants representing the line/sector Ministry appointed to the Board? | No | Yes | 12%
| Is a Code of Conduct in place and implemented? | Yes | No | 8%
| Is a commercial mandate in place and implemented? | Yes | No | 19%
| Is the CEO on a performance contract with annual reviews? | Yes | No | 8%
| Has a Strategic Plan (at least 3 year forecasts) been adopted and implemented? | Yes | No | 15%
| Is the Annual Report (audited) completed within four months of end of reporting year? | Yes | No | 19%
| Does the Annual Report disclose performance against Plan? | Yes | No | 8%
| Total Score |  |  | 100%
Note: A good governance score results in full marks for each indicator, whilst a poor governance result receives a zero for each applicable indicator. In regard to
the indicator on Annual Reports being completed within four months of the end of the reporting year, this has been used as a good practice standard but it is
acknowledged that several utilities have agreements with their regulators that allow for longer periods for production of Annual Reports.

## Tab 3.1
content
Table 3.1: Key Gender Statistics
| Workforce by Gender | Regional Average
| Total staff (male) | 76.9%
| Total staff (female) | 23.1%
| Technical staff (male) | 97.1%
| Technical staff (female) | 2.9%
| Senior staff (male) | 67.3%
| Senior staff (female) | 32.7%
Senior female staff as a proportion of total staff by role
| Finance | 26.6%
| Procurement / Supply | 5.5%
| Human Resources | 10.1%
| Public Relations/Customer Service/Communications | 38.5%
| Administration | 15.6%
| Other | 3.7%

## Tab 5.1
content
Table 5.1: Utility Key Characteristics
| Utility and colour code | Peak Demand (MW) | Size Category (S / M / L) | Outer Islands Serviced (Y/N)
| ASPA | 22.9 | Medium | Yes
| CPUC | 2.4 | Small | Yes
| CUC | 40.5 | Large | Yes
| EDT | 116.4 | Large | Yes
| EEC | 94.1 | Large | Yes
| EPC | 22.8 | Medium | Yes
| FEA | 161 | Large | Yes
| GPA | 249 | Large | No
| HECO | 1727* | Large | No | what does the star stand for? Pg 15 of report- Included for the 1st time
| KAJUR | 2.1 | Small | No
| KUA | 1.1 | Small | No
| MEC | 8.7 | Medium | Yes
| NPC | 0.6 | Small | No
| NUC | 3.3 | Small | No
| PPL | 209.6 | Large | Yes
| PPUC | 12 | Medium | Yes
| PUB | 4.2 | Small | No
| PUC | 5.8 | Medium | No
| SIEA | 14.1 | Medium | Yes
| TAU | 4.4 | Small | No
| TEC | 0.8 | Small | Yes
| TPL | 9.8 | Medium | Yes
| UNELCO | 11.4 | Medium | Yes
| YSPSC | 2.3 | Small | Yes

## Tab 5.2
content
Table 5.2: Transmission Indicators 2014 (2013) (2012)
| Utility | Transmission Losses (%) |  | Transmission Realiability (Outages/100km) |  | Transmission SAIDI (Min/Customer) |  |  |  | Transmission SAIFI (Events/Customer)
[6 empty] | Unplanned | Planned | Unplanned | Planned | Unplanned | Planned | Unplanned | Planned
|  | 2013 | 2014 | 2013 | 2014 | 2013 |  | 2014 |  | 2013 |  | 2014
| EDT | 3.2 | 3.7 | 3.8 | 2.1 | 15 | 0 | 3.1 | 0 | 1 | 0 | 0.6 | 0
| FEA |  | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GPA | 0.18 | - | 12.6 | 16.9 | 62.6 | 6900 | 48 | 0 | 23.9 | 5.4 | 0.6 | 0
| HECO | 1.01 | - | - | - | - | - | 51 | 0.0005 | - | - | 1.9 | 0
| PPL |  | - | 23 | 21.7 | 107.8 | 31 | 77.6 | 1 | 0.04 | 0.08 | 25.4 | 0.5

## Table 5.3
content
Table 5.3: Utility Demand Side Management Efforts in 2013FY and 2014FY
| Response from Utilities | 2013FY | 2014FY
| Number of responses | 21 | 19
| DSM activities reported | 14 | 11
| Average No. Staff assigned to DSM | 0.001 | 0.002
| Average Budget for DSM (USD) | 418741 | 160629

## Tab 6.1
content
Table 6.1: Summary of Indicator Trends 2014FY26
| Improved | Stable | Declined
| Planned Outage Factor | Capacity Factor (%) | Customers per Distribution Employee
| Transmission Reliability (Outages/km) | Availability Factor | Lubricating Oil Consumption (kWh/litre)
| Transmission SAIDI | Load Factor | Return on Equity (%)
| Operating Ratio | Generation Labour Productivity (GWh/FTE employee) | Debtor Days (days)
| Generation O&M (USD per MWh) | Specific Fuel Oil Consumption (kWh/litre) | Power Station Usage (%)
| Lost Time Injury Duration Rate | Specific Fuel Oil Consumption (kWh/ kg) | Distribution O&M (USD per MWh)
| Transformer Utilisation (%) | Average Supply Cost (USD/kWh) | Distribution Losses (%)
| Debt to Equity Ratio |  | Lost Time Injury Frequency Rate
| Forced Outage |  | SAIFI (interruptions/customer)
SAIDI (minutes/customer)
Forced Outage Factor

## Tab 6.2
content
Table 6.2: Comparison of 2014FY Results with 2010FY, 2011FY, 2012FY and 2013FY
| Key Indicators |  | 2010 results |  | 2011 results |  | 2012 results |  | 2013 results |  | 2014 results |  | Trend
|  |  | Av | Med | Av | Med | Av | Med | Av | Med | Av | Med
Generation
| Load factor (%) | ↑ better | 64 | 65 | 67 | 68 | 67 | 65 | 66.8 | 64.6 | 67.7 | 65.1 | Stable
| Capacity factor (%) | ↑ better | 32 | 31 | 36 | 37 | 36 | 35 | 35.7 | 33.5 | 35.6 | 33 | Stable
| Availability factor (%) | ↑ better | 98 | 100 | 82 | 81 | 92 | 99.6 | 95.9 | 99.8 | 95.9 | 99.6 | Stable
| Generation labour productivity(GWh/FTE employee) | ↑better | 2.7 | 1.2 | 2.5 | 1.2 | 2.2 | 1.3 | 3.1 | 2.1 | 2.4 | 1.3 | Stable
| Specific fuel oil consumption (kWh/ litre) | ↑ better | 3.8 | 3.8 | 3.8 | 3.8 | 3.9 | 3.8 | 3.8 | 3.9 | 3.9 | 3.8 | Stable
| Specific fuel oil consumption (kWh/ kg) | ↑ better |  |  |  |  | 4.5 | 4.5 | 4.4 | 4.5 | 4.6 | 4.6 | Stable
| Lube oil consumption (kWh/litre) | ↑better | 1302 | 971 | 1084 | 936 | 1096 | 984 | 1130 | 1093 | 1102 | 1068 | Varies
| Forced outage factor (%) | ↓ better | 1 | 0.2 | 8.3 | 6.3 | 5.4 | 0.4 | 1.5 | 0.1 | 2.7 | 0.1 | Declined
| Planned outage factor (%) | ↓better | 1 | 0.1* | 3.9 | 1.8 | 2.64 | 0.04 | 2.7 | 0.1 | 1.38 | 0.03 | Improved
| O&M (USD per MWh) | varies | 148* | 71* | 214* | 132* | 47 | 40 | 20 | 11.5 | 61.4 | 35.5 | Improved
| Power Station Usage (%) | ↓better | 4.7 | 4.8 | 3.9 | 3.6 | 3.5 | 2.7 | 3.6 | 2.9 | 5.2 | 3.2 | Declined
| Renewable energy to grid (%) | varies | 22% main grid* | 26% of all grids*
Transmission
| Transmission losses (%) | ↓ better |  |  | 5* | 5* | 0.9* | 0.9* | 1.9 | 2 | n/a | n./a | Varies
| Transmission reliability (outages/100km) | ↓ better |  |  | 41.8 | 18.2 | 11.5* | 15.9* | 9.8 | 8.2 | n/a | n/a | Improved
| Transmission SAIDI (min/cust) Unplanned | ↓ better |  |  |  |  | 52.7 | 60.9 | 46.4 | 38.8 | 35.9 | 48 | Improved
| SAIDI Planned | ↑ better |  |  |  |  | 0 | 0 | 1733 | 15.6 | 0.2 | 0 | Varies
| Transmission SAIFI (events/cust) Unplanned | ↓ better |  |  |  |  | 5.3 | 6.3 | 6.3 | 0.5 | 5.7 | 0.6 | Varies
| SAIFI Planned | ↑better |  |  |  |  | 0 | 0 | 1.4 | 0 | 0.1 | 0 | Varies
Distribution
| Network delivery losses (%) | ↓ better | 12.8 | 11.7 | 11.8 | 9.2 | 14 | 12.2 | 13.9 | 12.9 | 15.9 | 15.8 | Varies
| Distribution losses (%) | ↓ better | 12 | 10.4 | 14.2 | 10.7 | 14.1 | 12.2 | 14.3 | 12.9 | 16.7 | 16.4 | Declined
| Transformer utilisation (%) | ↑ better | 19 | 21 | 18 | 19 | 16 | 16 | 15.1 | 16.6 | 17.4 | 18.7 | Varies
| Distribution reliability (events per 100km) | ↓better | 51 | 26 | 135 | 19 | 64 | 23 | 96 | 26 | 88 | 17 | Varies
| Customers per dist employee | ↑ better | 334 | 297 | 259 | 249 | 246 | 253 | 240 | 233 | 223 | 192 | Declined
| Distribution O&M (USD/km) | ↑ better |  |  | 5846 | 4648 | 8662 | 5574 | 13354 | 5001 | 10087 | 7122 | Varies
Gen. and Dist. SAIDI and SAIFI
| SAIDI (mins/customer) | ↓better | 530* | 139* | 794* | 583* | 5664 | 475 | 1142 | 672.7 | 1719 | 301 | Varies
| SAIFI (interruptions/cust) | ↓better | 8* | 4* | 10* | 6* | 9 | 4 | 15.3 | 5.2 | 24.2 | 7.6 | Declined
Financial
| Ave. supply cost (USD/kWh) | [5 empty] | 0.45 | 0.44 | 0.4 | 0.4 | 0.47 | 0.44 | Stable
| Debt to equity ratio (%) | ↓better | 10 | 18 | 47 | 24 | 38 | 13 | 38.2 | 26.2 | 34 | 27 | Improved
| Rate of return on assets (%) | ↑ better | -4 | 1 | 3 | 0 | -12 | 2 | 7.1 | 5.8 | 0 | 2 | Varies
| Return on equity (%) | ↑ better | 5.7 | 5.7 | 8.1 | 5.7 | 2 | 0 | 3.8 | 4.7 | 1.9 | 1.7 | Varies
| Current ratio (%) | ↑ better |  |  | 168 | 109 | 204 | 102 | 268.5 | 107.4 | 228 | 135 | Varies
| Operating ratio (%) | ↑ better |  |  | 100 | 99 | 98 | 99 | 99.9 | 99.1 | 101 | 100 | Improved
| Debtor days (days) | ↓ better | 115 | 56 | 62 | 51 | 57 | 50 | 60.6 | 49.3 | 72 | 60 | Declined
Human Resources
| Lost Time Injury Duration Rate (days / FTE employee) | ↓better |  |  | 0.09* | 0.04* | 0.1 | 0.03 | 0.2 | 0.1 | 0.16 | 0.07 | Varies
| Lost Time Injury Freq Rate (number of incidents per million hours) | ↓better |  |  | 10 | 6.3 | 6 | 2.3 | 6.5 | 5.3 | 8.24 | 9.36 | Varies
| Labour Productivity (customers per employee) | ↑ better | 85 | 74 | 71 | 59 | 81 | 55 | 102.5 | 47.4 | 74 | 65 | Varies
Technical Composite
| Composite Indicator ↑better 2.8 2.8 2.7 2.7 2.6 2.5 | ↑better | 2.8 | 2.8 | 2.7 | 2.7 | 2.6 | 2.5

## Tab F.1
content
Table F.1: KPIs 2014 (Generation)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
| Utility | Load Factor | Capacity Factor | Availability Factor | Generation Labour Productivity | Specific Fuel Oil Consumption (volume) | Specific Fuel Oil Consumption (weight) | Lube Oil Consumption | Forced Outage | Planned Outage | Generation O&M Costs | Power Station Usage | RE to Grid | IPP Energy Generation
|  | % | % | % | GWh/FTE gen employee | kWh/L | kWh/kg | kWh/L | % | % | US$/MWh | % | % | %
| ASPA | 76.7 | 49.9 | 99.41 | 2.12 | 3.8 | 4.58 | 657 | 0.29 | 0.3 | 45.1 | 4.73 | 1.57 | 0
| CPUC | 67.3 | 27.3 | 99.73 | 0.56 | 3.8 | 4.53 | 1288 | 0.08 | 0.19 | 21.73 | 0.52 | 0.58 | 0
| CUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| EDT | 62.7 | 28.1 | 74.78 | 4.57 | 4.73 | 4.82 | 786 | 16.67 | 8.56 | 48.78 | 2.63 | 31.6 | 1.87
| EEC | 62.6 | 40.4 | 100 | 9.65 | - | 7.72 | 1352 | 0 | 0 | 27.33 | 1.43 | 5.06 | 94.91
| EPC | 64.77 | 32.81 | 99.9 | 0.88 | 4.22 | 4.35 | 1940 | 0.09 | 0.01 | 79.42 | 2.98 | 26.34 | 0
| FEA | 62.57 | 39.23 | 100 | 8.19 | 4.12 | 4.76 | NA | 0 | 0 | 4.9 | - | 48.41 | 3.15
| GPA | 78.3 | 29.4 | 99.99 | 4.08 | 4.26 | 4.74 | 1689 | 0.002 | 0.005 | 31.01 | 8.68 | 0 | 42.61
| HECO | - | 50.7 | 85.28 | 5.86 | 3.6 | - | - | 3.8 | 10.92 | 35.56 | 6.64 | 0.51 | 47.58
| KAJUR | 84.8 | 46.1 | 99.73 | 1.43 | 4.25 | 4.72 | 1258 | 0.21 | 0.06 | 43.3 | 4.31 | 0 | 0
| KUA | 56.9 | 20.3 | 87.16 | 0.77 | 3.56 | 4.24 | 1068 | 12.84 | 0.008 | 51.71 | 1.19 | 2.29 | 0
| MEC | 77.01 | 22.87 | 93.3 | 1 | 4 | 4.74 | 461 | 6.65 | 0.05 | 86.91 | 6.77 | 0.44 | 0
| PPL | 59.99 | 40.72 | 99.5 | 0.21 | 2.73 | 3.17 | 3598 | 0.37 | 0.13 | 17.43 | 21.93 | 49.86 | 25.75
| PPUC | 74.1 | 32.5 | 98.49 | 1.17 | 3.8 | 4.52 | 1063 | 0.01 | 1.5 | 54.44 | 3.22 | 0.59 | 0
| PUB | 65.1 | 49.8 | 99.54 | 0.66 | 3.78 | 3.1 | 2109 | 0.46 | 0 | 6.94 | 4.44 | 0 | 0
| PUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| SIEA | 69.1 | 38.23 | 87.54 | 1.2 | 3.87 | 4.61 | 1120 | 8.517 | 3.947 | 35.53 | 3.17 | 0.04 | 0.69
| TAU | 72.2 | 30.4 | 100 | 1.53 | 3.68 | 4.38 | 541 | 0.003 | 0 | 129.48 | 1.48 | 2.87 | 0
| TEC | 64.6 | 30.3 | 100 | 0.14 | 3.42 | 4.07 | 1255 | 0 | 0 | 413.75 | 9.37 | 0 | 0
| TPL | 65.8 | 47.7 | 99.96 | 1.65 | 4.06 | 4.84 | 823 | 0.04 | 0 | 30.16 | 2.92 | 4.35 | 0
| UNELCO | 59.6 | 33.1 | 93.57 | 2.54 | 3.92 | 4.64 | 625 | 4.53 | 1.9 | 35.28 | 2.51 | 16.67 | 0
| YSPSC | 62.9 | 18.9 | 99.99 | 0.39 | 3.78 | 4.5 | 692 | 0.01 | 0 | 29.4 | 9.42 | 0 | 0

## Tab F.2
content
Table F.2: KPIs 2014 (Generation, Distribution)
|  | 13a | 13b | 13c | 13d | 13e | 14 | 18 | 19 | 20 | 21 | 22 | 23
| Utility | Distillate Generation | Heavy Fuel Oil Generation | Biofuel Generation | Mixed Fuel Generation | LNG Generation | Enabling Framework for Private Sector | Network Delivery Losses | Distribution Losses | Customers per Distribution Employees | Distribution Reliability | Distribution Transformer Utilisation | Distribution O&M Cost
|  | % | % | % | % | % | Y/N | % | % |  | Events/100km | % | US$/km
| ASPA | 100 | 0 | 0 | 0 | 0 | Y/N | 8.5 | 11.9 | 193 | 11.3 | 20.9 | 18370
| CPUC | 99.4 | 0 | 0 | 0 | 0 | Yes | 26 | 26 | 118 | 375.4 | 10.6 | 9084
| CUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| EDT | 0.6 | 65.7 | 0 | 0 | 0 | Yes | 6.6 | 2.7 | 382 | 2.7 | 0 | 5416
| EEC | 0 | - | 0.01 | - | - | Yes | - | 235 | - | - | -
| EPC | 73.6 | - | - | - | - | Yes | 16.4 | 16.4 | 191 | 21.2 | n.av. | 11983
| FEA | 27.7 | 20.775 | - | - | - | Yes | 3.6 | - | 411 | n.av. | n.av. | n.av.
| GPA | 2.1 | 97.9 | 0 | 0 | 0 | Yes | 5.8 | 8.9 | 299 | 12.6 | 18.7 | 17904
| HECO | 0.2 | 51.7 | 0.51 | - | - | - | 1.1 | - | - | - | 22.6 | -
| KAJUR | - | 100 | - | - | - | No | 62 | 62 | 128 | 16.9 | 10 | 8829
| KUA | 100 | - | - | - | - | No | 18.6 | 20.1 | 158 | 63.5 | 5.8 | 4540
| MEC | 99.6 | - | - | - | - | No | 29 | 29 | 129 | 16.7 | 11.6 | 34969
| PPL | 24.4 | 25.7 | - | - | - | Yes | 32.6 | NA | 182 | 416.2 | 18.9 | 31436
| PPUC | 99.4 | - | - | - | - | No | 15.2 | 14.5 | 46 | 19.4 | 36 | 9667
| PUB | 100 | - | - | - | - | No | 22.2 | 22.2 | - | 393.1 | 22.2 | 2278
| PUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| SIEA | 90.5 | 0 | 0 | 0 | 0 | No | 25.6 | 25.6 | 71 | 2.8 | 0 | 207
| TAU | 97.1 | - | - | - | - | Yes | 9 | 6.1 | 315 | 1.2 | 20.9 | 29913
| TEC | 100 | [7 empty] | 513 | 0.3 |  | 13
| TPL | 95.6 | - | - | - | - | Yes | 11.1 | 11.1 | 222 | 103.8 | 12.9 | 4399
| UNELCO | 83.3 | - | 5.0994 | - | - | Yes | 6.4 | 6.4 | 318 | 5.9 | 17.6 | 1599
| YSPSC | 100 | - | - | - | - | No | 18.8 | 18.8 | 103 | 36.9 | 7.6 | 2223

## Tab F.3
content
Table F.3: KPIs 2014 (Generation and Distribution, SAIDI & SAIFI)
|  | 24a | 24b | 25a | 25b | 25c | 25d | 25e | 25f | 25g | 25h | 25i | 25j | 25k
| Utility | Dist Related SAIDI (Unplanned) | Dist Related SAIDI (Planned) | Dist SAIFI (Total) | Dist Related SAIFI (Unplanned) | Dist Related SAIFI (Planned) | Gen SAIDI (Total) | Gen Related SAIDI (Unplanned) | Gen Related SAIDI (Planned) | Gen SAIFI (Total) | Gen Related SAIFI (Unplanned) | Gen Related SAIFI (Planned) | Total SAIDI (Gen and Dist) | Total SAIFI (Gen and Dist)
|  | mins per customer | mins per customer | events per customer | events per customer | events per customer | mins per customer | mins per customer | mins per customer | events per customer | events per customer | events per customer | mins per customer | events per customer
| ASPA | 34.8 | 4.5 | 0.6 | 0.6 | 0 | 81.5 | 81.5 | 0 | 3.8 | 3.8 | 0 | 120.8 | 4.5
| CPUC | 6799.3 | 5736 | 2 | 1 | 1 | 1456.3 | 426.5 | 1029.7 | 2 | 1 | 1 | 13991.6 | 4.1
| CUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| EDT | 71.6 | 235.4 | 2.8 | 1.8 | 1 | 9 | 9 | 0 | 2.7 | 2.7 | 0 | 316 | 5.5
| EEC | 0 | 0 | 2.4 | 1.8 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4
| EPC | 0 | 0 | 6.1 | 1.2 | 4.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1
| FEA | 0 | 0 | 8.4 | 4.9 | 3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4
| GPA | 111.5 | 13.9 | 2.7 | 2.4 | 0.3 | 73.1 | 73.1 | 0 | 4.7 | 4.7 | 0 | 198.5 | 7.4
| HECO | 0 | 0 | 0.9 | 0.8 | 0.1 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 1.1
| KAJUR | 67.2 | 8.8 | 3.4 | 3.3 | 0.1 | 830.7 | 704.9 | 125.8 | 26.2 | 21.1 | 5 | 906.8 | 29.6
| KUA | 773 | 33.8 | 16 | 15 | 1 | 564.4 | 434.2 | 130.2 | 6.8 | 5.8 | 1 | 1371.2 | 22.8
| MEC | 635.6 | 224.9 | 3.8 | 3.3 | 0.5 | 1621.2 | 223.4 | 1397.8 | 4.1 | 1 | 3.1 | 2481.8 | 7.9
| PPL | 0.3 | 0 | 74.5 | 70.5 | 4 | 0.5 | 0.4 | 0.05 | 133 | 127.4 | 5.6 | 0.8 | 207.5
| PPUC | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0
| PUB | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| PUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| SIEA | 1088.4 | 415.4 | 18.7 | 13.8 | 4.8 | 1698.9 | 1436.2 | 262.7 | 39 | 34.4 | 4.6 | 3202.7 | 57.7
| TAU | 2.5 | 0 | 0.1 | 0.1 | 0 | 93 | 93 | 0 | 1 | 1 | 0 | 95.5 | 1.1
| TEC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| TPL | 0 | 0.1 | - | - | - | 0 | 0 | 0 | - | - | - | 0.1 | -
| UNELCO | 80.4 | 37.8 | 3.5 | 2.9 | 0.5 | 168.5 | 168.5 | 0 | 8.9 | 8.9 | 0 | 286.7 | 12.4
| YSPSC | 731.4 | 27.3 | 8.3 | 8 | 0.3 | 337.1 | 264.2 | 72.9 | 0 | 0 | 0 | 1095.9 | 8.3

## Tab F.4
content
Table F.4: KPIs 2014 (DSM, HR and Safety, Customer)
|  | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36a | 36b | 36c | 36d | 36e | 37 | 38
| Utility | DSM Initiatives | DSM Budget | DSM FTE Empl | DSM MWh Savings | Power Quality Standards | Lost Time Injury Duration | Lost Time injury Freq Rate | Labour Productivity | Service Coverage | Productive Electricity Usage | Lifeline Tariff Usage | Domestic Usage | Commercial Usage | Industrial Usage | Other Usage | Customer Unbilled Electricity | Self- Regulated or Externally egulated
|  |  | USD | FTE empl | MWh |  | days | injuries per million hrs worked | customers/ FTE empl | % | % | % | % | % | % | % | % | self / ext
| ASPA | No | NA | NA | NA | None | 0 | 0 | 76.25 | 1.9 | 68.6 | 0 | 29.9 | 27.2 | 17.2 | 24.3 | 0 | self
| CPUC | Yes | - | 0.001 | - | None | 0.03 | 15.19 | 24.3 | 20 | 73.1 | - | 20.9 | 50.1 | - | 23 | 6 | self
| CUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| EDT | Yes | 9180 | 0.002 | - | None | 0.07 | 1.19 | 165.62 | 90.3 | 66.2 | 10 | 23.7 | 16.4 | 46.6 | 3.2 | 0.1 | ext
| EEC | Yes | 102000 | 0.0005 | n.av. | EN50160 | 0.03 | - | - | 62.9 | - | - | - | - | - | - | - | -
| EPC | No | NA | NA | NA | None | n.av. | n.av. | 64 | n.av. | 88.5 | - | 7 | 59.9 | 0.5 | 28.1 | - | ext
| FEA | Yes | n.av. | - | - | - | 0.76 | 9.36 | 211.77 | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | ext
| GPA | No | NA | NA | NA | None | 0.39 | 11.04 | 83.89 | n.av. | 70.1 | 14.3 | 29.9 | 17.3 | 19.4 | 33.4 | 5.6 | ext
| HECO | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | ext
| KAJUR | No | NA | NA | NA | None | - | - | 19.55 | 96.3 | 18.8 | - | 81.2 | 18.2 | - | 0.6 | 8.2 | self
| KUA | Yes | - | - | - | KUA | - | - | 77.84 | 100 | 58.3 | - | 39.6 | 27.1 | 5.9 | 25.3 | 2.1 | self
| MEC | Yes | - | - | - | None | 0.14 | 18.46 | 31.09 | 100 | 55 | - | 43 | 37.9 | - | 17.1 | 28.4 | self
| PPL | Yes | 755400 | 0.0015 | 406808 | None | 0.12 | 0.52 | 18.01 | 7.3 | 81.2 | - | 18.4 | 52.6 | 18.9 | 9.6 | 10.7 | ext
| PPUC | Yes | 25000 | 0.0015 | - | JIS,NEC | - | - | 50.61 | 97.1 | 68.4 | - | 31.6 | 36.7 | 31.7 | 0 | - | self
| PUB | No | NA | NA | NA | 0 | - | - | 33.5 | 39.9 | 56.4 | - | 43.6 | 20.1 | 36.4 | - | 22.2 | ext
| PUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| SIEA | No | NA | NA | NA | 0 | 0.07 | 4.6 | 66.95 | 13 | 66 | 0 | 34 | 65 | 1 | 0 | 0.4 | self
| TAU | Yes | 57023 | 0.0035 | - | NZStandard | - | - | 108.79 |  | 66.2 | 10 | 23.8 | 37.9 | 28.2 | - | - | ext
| TEC | 26: No; 27: NA; 28: NA; 29: NA; 30: AUS&NZ; 33: 40.71; 38: self
| TPL | Yes | - | - | n.av. | TPLStandard | - | - | 109.44 | 87.3 | 4.2 | - | 3.4 | 4.2 | - | - | - | ext
| UNELCO | Yes | 15173 | 0.0065 | - | ConcessionContract | 0.1 | 13.78 | 119.7 | 25.5 | 67.5 | 7.5 | 24.9 | 24.6 | 42.5 | 0.4 | 1 | ext
| YSPSC | No | NA | NA | NA | NEC | - | - | 23.28 | 52 | 75.3 | 0.6 | 24.7 | 46.7 | 28.6 | - | 7.5 | self

## Tab F.5
content
Table F.5: KPIs 2014 (Transmission)
|  | 15 | 16 | 17a | 17b | 17c | 17d | 17e | 17f
| Utility | Transmission Losses | Transmission Reliability | Trans SAIDI (planned) | Trans SAIDI (unplanned) | Trans SAIDI Total | Trans SAIFI (unplanned) | Trans SAIFI (planned) | Trans. SAIFI Total | Total SAIDI (Gen Dist Tran) | Total SAIFI (Gen Dist Tran)
|  | % | outage/s100km | min per cust | min per cust | min per cust | events/cust | events/cust | events/cust | min per cust | events/cust
| EDT | 3.7 | 2.1 | 0 | 3.1 | 3.1 | 0.6 | 0 | 0.6 | 319.1 | 6.1
| FEA | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4
| GPA |  | 16.9 | 0 | 48 | 48 | 0.6 | 0 | 0.6 | 246.6 | 8
| HECO | - | - | 0.000475 | 51 | 51 | 1.9 | 0 | 1.9 | 51 | 3
| PPL | - | 21.7 | 1 | 77.6 | 78.6 | 25.4 | 0.5 | 25.9 | 79.4 | 233.4

## Tab F.6
content
Table F.6: KPIs 2014 (Financial and Utility Cost Breakdown)
|  | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46.1 | 46.2 | 46.3 | 46.4 | 46.5 | 46.6 | 46.7 | 46.8 | 46.9 | 46.10 | 46.11 | 46.12
| Utility | Operating Ratio | Debt to Equity Ratio | Rate of Return on Assets | Return on Equity | Current Ratio | Debtor Days | Average Supply Cost | Fuel and Lube Oil | Fuel Duty | Gen O&M | Gen Labour | Gen Deprec | T&D O&M | T&D Labour | T&D Deprec | Other O/Hs | Other Deprec | Other Taxes | Other Misc
|  |  | % | % | % |  | days | Usc/kWh | % | % | % | % | % | % | % | % | % | % | % | %
| ASPA | 103.3 | 0.5 | -13 | -5.8 | 756 | 28.6 | 37 | 69.5 | 0 | 7.9 | 4.6 | 4.8 | 6.4 | 2.7 | 3.1 | 0.5 | 0.4 | 0.2 | 0
| CPUC | 101 | 48 | 28.4 | -1.2 | 114.8 | 21.3 | 55 | 66.1 | - | 2.7 | 2 | 2 | 1.4 | 3.4 | 0.8 | 2.5 | 2.2 | 0.2 | 16.7
| CUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| EDT | 104.4 | 19.4 | 2.6 | 7.2 | 46.7 | 81.2 | 31 | 31.7 | 0 | 5.8 | 8 | 10.7 | 1.6 | 5.4 | 10 | 8.8 | 0 | 2.6 | 15.4
| EEC | 97.4 | 2.3 | 11.4 | 9.5 | 78.1 | 68.4 | - | 12.6 | - | 1.2 | 1.1 | 1.5 | 10.5 | 43.5 | 16.8 | 7.1 | 5.6 | - | -
| EPC | 109.9 | 43.7 | 0.8 | -0.4 | 99.5 | 31.6 | 44 | 50 | 6.52 | 13.53 | 1.64 | 4.53 | 10.2 | 2.86 | 3.85 | 3.95 | 1.26 | 0.1 | 1.52
| FEA | 98.1 | 43.7 | 0.6 | 0.2 | 245 | 41.8 | n.av. | 57.2 | 6.4 | 2 | 0.6 | 5.6 | 4.6 | 1 | 4.5 | 4 | 1.5 | - | 12.55
| GPA | 90.6 | 82.3 | 6.9 | 3 | 90.3 | 37.1 | 23 | 67.5 | - | 4.4 | 2.5 | 4.8 | 3 | 1.7 | 2.6 | 3 | 1 | 1.7 | 7.9
| HECO | 81.3 | 32.8 | 10.9 | 7.6 | 127.9 | 25.4 | 24 | 31.3 | - | 3 | 2.1 | 1.2 | 2.4 | - | 2.9 | - | - | - | 57.1
| KAJUR | 124.2 | n.av. | -35.2 | n.av. | 51.2 | 154.6 | 95 | 72.1 | 0.2 | 0.7 | 10.4 | 3.6 | 0.3 | 2.2 | 1.2 | 8.9 | - | 0.4 | -
| KUA | 119.1 | n.av. | -3.9 | -2.2 | 237.3 | 20.1 | 62 | 58.1 | - | 5.7 | 3.2 | 4.5 | 8.1 | 2.3 | 6.5 | 6.5 | 0.8 | - | 4.4
| MEC | 106.9 | 148.8 | 0.9 | -7.3 | 87.9 | 160.6 | 47 | 58 | - | 17.3 | 5.2 | 4.6 | 6 | 2.3 | - | 4.1 | 1.2 | 0.3 | 0.9
| PPL | 97.7 | 24.5 | 8.1 | 7.2 | 143.4 | 60.5 | 29.6 | 45.1 | - | 6.8 | 8 | 4.4 | 7.8 | 0 | 3.7 | 7.8 | 2 | 0 | 14.3
| PPUC | 99.9 | - | 340.1 | 1.9 | 213.4 | 61.5 | 38 | 64.6 | - | 12.1 | 2.5 | 6.3 | 2.8 | 1.2 | 2 | 2.1 | 0.9 | - | 5.4
| PUB | 106.9 | 28.6 | -4.4 | -7 | 80.3 | 255.1 | 44 | 74.5 | - | 0 | 3.9 | 5 | 1.8 | 2.6 | 0.7 | 3 | 0.7 | - | 7.8
| PUC | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av. | n.av.
| SIEA | 88.9 | 4.3 | 21 | 13.8 | 900 | 59.8 | 74 | 50.5 | 12.6 | 4.8 | 0.8 | 5.1 | 1.1 | 3.3 | 1.5 | 6.2 | 3.2 | 1 | 9.9
| TAU | 96.1 | 1 | 3.5 | 1.5 | 628.1 | 48.8 | 56 | 38.1 | 0 | 14.5 | 2.9 | 7.5 | 9.8 | 2.2 | 7.5 | 4.5 | 1 | 0 | 12
| TEC | 290.8 | n.av. | -27.6 | n.av. | 59.7 | 82.8 | 26.4 | 26.4 | 19.4 | 0.5 | 1.8 | 7.2 | 15 | 0.3 | 3.1
| TPL | 91.3 | 35.4 | 5.8 | 4.3 | 147.2 | 41.6 | 44 | 54.2 | - | 4.8 | 2.2 | 2.9 | 0.8 | 3.1 | 6.5 | 4.8 | 2.5 | 0 | 18.2
| UNELCO | 92.7 | 20.1 | 2.3 | 10.1 | 142.9 | 66.1 | 42 | 44.5 | 6.2 | 5.5 | 1.6 | 9.1 | 1.9 | 0.8 | 3.5 | 8.1 | 3.8 | 0.1 | 14.8
| YSPSC | 113.8 | 2.2 | -16.4 | -8.5 | 307.6 | 91.2 | 58 | 65.3 | - | 2 | 3.7 | 10.1 | 2 | 2.2 | 1.3 | 5.1 | 1.7 | - | 6.5

## Tab H.1
content
Table H.1: Electricity Tariff Table12 (Local Currency)
TOTAL COST TO CONSUMER FOR SET kWh/mth, incl base charge, taxes,etc (IN LOCAL CURRENCY)
|  | DOMESTIC / RESIDENTIAL | [7 empty] | COMMERCIAL /BUSINESS
| Pacific Utilities | 50 | 100 | 200 | 500 | 1000 | 2000 | 3000 | 10000 | 1000 | 3000 | 10000 | 50000
| ASPA | 25.29 | 44.58 | 83.17 | 198.92 | 391.83 | 777.66 | 1163.49 | 3864.3 | 404.93 | 1194.79 | 3959.3 | 19756.5
| CPUC | 27.37 | 54.73 | 109.46 | 273.65 | 547.3 | 1094.6 | 1641.9 | 5473 | 577.4 | 1732.2 | 5774 | 28870
| CUC | 22.67 | 38.84 | 71.16 | 168.14 | 373.46 | 795.72 | 1273.98 | 4621.8 | 432.79 | 1277.31 | 4233.13 | 21123.53
| EPC | 34.5 | 75.5 | 157.5 | 403.5 | 813.5 | 1633.5 | 2453.5 | 8193.5 | 810 | 2430 | 8100 | 40500
| FEA | 8.6 | 21.18 | 54.28 | 153.58 | 319.08 | 650.08 | 1312.08 | 3629.08 | 399 | 1197 | 3990 | 20615
| KAJUR | 14.9 | 29.8 | 59.6 | 149 | 298 | 596 | 894 | 2980 | 358 | 1074 | 3580 | 17900
| KUA | 21.69 | 43.09 | 89.89 | 230.29 | 464.29 | 942.29 | 1420.29 | 4766.29 | 477.29 | 1453.29 | 4869.29 | 23989.29
| MEC | 19.9 | 39.8 | 79.6 | 199 | 408 | 826 | 1244 | 4170 | 478 | 1434 | 4780 | 23900
| NPC | 40 | 65 | 125 | 325 | 675 | 1375 | 2075 | 6975
| NUC | 10 | 20 | 40 | 130 | 305 | 655 | 1005 | 3455 | 700 | 2100 | 7000 | 35000
| PPL | 45.25 | 85.41 | 165.74 | 406.73 | 808.38 | 1611.68 | 2414.98 | 8038.08 | 953.6 | 2824.8 | 9374 | 46798
| PPUC | 18.2 | 33.4 | 67.5 | 180.9 | 394.4 | 821.4 | 1248.4 | 4237.4 | 438 | 1292 | 4281 | 21361
| PUB | 20 | 40 | 80 | 200 | 400 | 800 | 1200 | 4000 | 550 | 1650 | 5500 | 27500
| PUC | 28.53 | 53.05 | 102.1 | 249.25 | 494.5 | 985 | 1475.5 | 4909 | 490.5 | 1471.5 | 4905 | 24525
| SIEA | 323.43 | 646.86 | 1293.72 | 3234.3 | 6468.6 | 12937.2 | 19405.8 | 64686 | 6953 | 20859 | 69530 | 347650
| TAU | 28.5 | 66.2 | 146.2 | 408 | 828 | 1668 | 2508 | 8388 | 815 | 2435 | 8105 | 40505
| TEC (Fogafale) | 15 | 34.5 | 90.5 | 258.5 | 538.5 | 1098.5 | 1658.5 | 5578.5 | 560 | 1680 | 5600 | 28000
| TEC (Outstation) | 14.5 | 33.5 | 88.5 | 253.5 | 528.5 | 1078.5 | 1628.5 | 5478.5 | 550 | 1650 | 5500 | 27500
| TPL | 45.87 | 91.73 | 183.46 | 458.65 | 917.3 | 1834.6 | 2751.9 | 9173
| UNELCO | 958 | 3876.4 | 18761.4 | 69467.4 | 153977.4 | 322997.4 | 492017.4 | 1675157.4 | 50146.8 | 148186.8 | 491326.8 | 2452126.8
| YSPSC | 21.06 | 42.27 | 84.69 | 217.25 | 442.6 | 893.3 | 1344 | 4498.9 | 455.7 | 1516.3 | 5228.4 | 26440.4
1Tariff review was carried out by PPA.
2Some utilities were not represented in tariff tables were due to difficulty in understanding or interpreting application or tariff, or due to missing information (such as a variable fuel component).

## Tab H.2
content
Table H.2: Electricity Tariff Table (USD)
TOTAL COST TO CONSUMER FOR SET kWh/mth, incl base charge, taxes,etc (IN LOCAL CURRENCY)
|  | DOMESTIC / RESIDENTIAL | [7 empty] | COMMERCIAL /BUSINESS |  |  |  | Comments
| Pacific Utilities | 50 | 100 | 200 | 500 | 1000 | 2000 | 3000 | 10000 | 1000 | 3000 | 10000 | 50000
| ASPA | 25.29 | 44.58 | 83.17 | 198.92 | 391.83 | 777.66 | 1163.49 | 3864.3 | 404.93 | 1194.79 | 3959.3 | 19756.5 | Commercial based on small general 3PHSE
| CPUC | 27.37 | 54.73 | 109.46 | 273.65 | 547.3 | 1094.6 | 1641.9 | 5473 | 577.4 | 1732.2 | 5774 | 28870 | Based on 8 Feb 2012 announcement
| CUC | 22.67 | 38.84 | 71.16 | 168.14 | 373.46 | 795.72 | 1273.98 | 4621.8 | 432.79 | 1277.31 | 4233.13 | 21123.53 | 2 Feb 2012 sched of charges, lifeline applied up to 500KWh
| EPC | 14.62 | 31.99 | 66.73 | 170.96 | 344.68 | 692.11 | 1039.55 | 3471.59 | 343.2 | 1029.59 | 3431.97 | 17159.85 | 0.86 applied up to 50kWh for domestic
| FEA | 4.31 | 10.6 | 27.18 | 76.91 | 159.79 | 325.56 | 657.09 | 1817.44 | 199.82 | 599.46 | 1998.19 | 10323.99 | Lifeline tariff applicable to total consumption up to 70kWh only
| KAJUR | 14.9 | 29.8 | 59.6 | 149 | 298 | 596 | 894 | 2980 | 358 | 1074 | 3580 | 17900 | Life line rate was stated but without any indication as to the KWh
| KUA | 21.69 | 43.09 | 89.89 | 230.29 | 464.29 | 942.29 | 1420.29 | 4766.29 | 477.29 | 1453.29 | 4869.29 | 23989.29 | Rate was quoted from Resolution 2008-30-4
| MEC | 19.9 | 39.8 | 79.6 | 199 | 408 | 826 | 1244 | 4170 | 478 | 1434 | 4780 | 23900
| NPC | 35.05 | 56.95 | 109.53 | 284.77 | 591.44 | 1204.78 | 1818.12 | 6111.5 |  |  |  |  | No commercial rate stated on notice issue 8 Nov 2008
| NUC | 9.42 | 18.84 | 37.68 | 122.45 | 287.28 | 616.94 | 946.61 | 3254.26 | 659.33 | 1977.99 | 6593.3 | 32966.5 | Tariff rate 2011
| PPL | 17.09 | 32.26 | 62.6 | 153.62 | 305.33 | 608.73 | 912.14 | 3035.98 | 360.17 | 1066.93 | 3540.56 | 17675.6 | Commercial uses "general supply customers"
| PPUC | 18.2 | 33.4 | 67.5 | 180.9 | 394.4 | 821.4 | 1248.4 | 4237.4 | 438 | 1292 | 4281 | 21361
| PUB | 16.31 | 32.62 | 65.25 | 163.12 | 326.24 | 652.48 | 978.72 | 3262.4 | 448.58 | 1345.74 | 4485.8 | 22429
| PUC | 28.53 | 53.05 | 102.1 | 249.25 | 494.5 | 985 | 1475.5 | 4909 | 490.5 | 1471.5 | 4905 | 24525 | Fuel charge 0.3905 as advised by PUC in email
| SIEA | 42.18 | 84.35 | 168.7 | 421.75 | 843.51 | 1687.01 | 2530.52 | 8435.05 | 906.67 | 2720.01 | 9066.71 | 45333.56
| TAU | 24.97 | 58 | 128.1 | 357.49 | 725.49 | 1461.5 | 2197.51 | 7349.57 | 714.1 | 2133.55 | 7101.6 | 35490.48
| TEC(Fogafale) | 12.23 | 28.14 | 73.81 | 210.83 | 439.2 | 895.94 | 1352.67 | 4549.82 | 456.74 | 1370.21 | 4567.36 | 22836.8
| TEC(Outstation) | 11.83 | 27.32 | 72.18 | 206.75 | 431.04 | 879.62 | 1328.2 | 4468.26 | 448.58 | 1345.74 | 4485.8 | 22429
| TPL | 24.79 | 49.59 | 99.18 | 247.95 | 495.89 | 991.78 | 1487.68 | 4958.92 |  |  |  |  | No commercial rate stated
| UNELCO | 9.39 | 37.99 | 183.86 | 680.78 | 1508.98 | 3165.37 | 4821.77 | 16416.54 | 491.44 | 1452.23 | 4815 | 24030.84 | Used business licence holder LV for commercial
| YSPSC | 21.06 | 42.27 | 84.69 | 217.25 | 442.6 | 893.3 | 1344 | 4498.9 | 455.7 | 1516.3 | 5228.4 | 26440.4
1. Tariff review was carried out by PPA.
2. Some utilities were not represented in tariff tables were due to difficulty in understanding or interpreting application or tariff, or due to missing information (such as a variable fuel component).